## Automotive EMC
관리번호 | 장비명 | 최종교정일 | 소속팀 | 교정주기 | 차기교정일 | 교정기관 | 제조사 | 모델명 | 일련번호 | 장비사양 | 위치 | 관리방법 | 중간점검 대상 (O/X) | 장비담당자 (정) | 장비담당자 (부)
SUW-A0002 | Temp and Humidity recorder | 2023-07-27 | Automotive | 12 | 2024-07-27 | HCT | LUTRON | MHB-382SD | AI.88966 | 50℃, 90% | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0003 | EMI Test Receiver | 2023-07-24 | Automotive | 12 | 2024-07-24 | HCT | Rohde & Schwarz | ESW8 | 101332 | 2 Hz ~ 8 GHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0004 | Pre-Amplifier | 2023-04-27 | Automotive | 12 | 2024-04-27 | HCT | Rohde & Schwarz | SCU01F | F010008 | 9kHz ~ 1GHz, 40dB gain | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0005 | Pre-Amplifier | 2023-07-25 | Automotive | 12 | 2024-07-25 | HCT | Rohde & Schwarz | SCU08F2 | 100756 | 0.1 ~ 8GHz, 40dB gain | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0006 | RF Current Probe | 2023-07-27 | Automotive | 12 | 2024-07-27 | HCT | ETS-Lindgren | 91550-1 | 00227343 | 10 kHz ~ 100 MHz,31.75mm | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0007 | RF Current Probe | 2023-07-27 | Automotive | 12 | 2024-07-27 | HCT | ETS-Lindgren | 94111-1 | 00227328 | 1MHz ~ 1GHz,31.75mm | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0008 | RF Current Probe | 2023-07-27 | Automotive | 12 | 2024-07-27 | HCT | FCC | F-52B | 194036 | 10 kHz ~ 400 MHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0009 | RF Current Probe | 2023-07-27 | Automotive | 12 | 2024-07-27 | HCT | FCC | F-2000-32MM-1 | 193469 | 10M ~ 2.1GHz,32mm-1, 250Amax | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0010 | RF Current Probe | 2023-07-27 | Automotive | 12 | 2024-07-27 | HCT | FCC | F-10A | 193470 | DC-400V, Measure Curren on 50,60,400Hz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0011 | V-NETWORK | 2023-07-25 | Automotive | 12 | 2024-07-25 | HCT | Rohde & Schwarz | ESH3-Z6 | 102167 | 0.1 - 200 MHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0012 | Termination | 2023-07-25 | Automotive | 12 | 2024-07-25 | HCT | BIRD | 5-T-MN | 2016 | DC-10GHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0013 | V-NETWORK | 2023-07-25 | Automotive | 12 | 2024-07-25 | HCT | Rohde & Schwarz | ESH3-Z6 | 102168 | 0.1 - 200 MHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0014 | Termination | 2023-07-25 | Automotive | 12 | 2024-07-25 | HCT | BIRD | 5-T-MN | 2016 | DC-10GHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0015 | V-NETWORK | 2023-07-25 | Automotive | 12 | 2024-07-25 | HCT | Rohde & Schwarz | ESH3-Z6 | 102169 | 0.1 - 200 MHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0016 | Termination | N/A | Automotive | N/A | N/A | N/A | Huber-Suhner | 65N-50-0-1/133 NE | N/A | DC-4GHz | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0017 | V-NETWORK | 2023-07-25 | Automotive | 12 | 2024-07-25 | HCT | Rohde & Schwarz | ESH3-Z6 | 102170 | 0.1 - 200 MHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0018 | Termination | N/A | Automotive | N/A | N/A | N/A | Huber-Suhner | 65N-50-0-1/133 NE | N/A | DC-4GHz | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0020 | Attenuator | 2023-07-25 | Automotive | 12 | 2024-07-25 | HCT | BIRD | 2-A-MFN-20 | 1471002 | 2W, N(m)-N(f), DC-1GHz,20dB | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0021 | Attenuator | 2023-07-26 | Automotive | 12 | 2024-07-26 | HCT | BIRD | 300-A-FFN-10 | 1473262 | 300W, 10dB,N(f)-N(f), DC-2.4GHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0022 | Attenuator | 2023-07-25 | Automotive | 12 | 2024-07-25 | HCT | BIRD | 150-A-FFN-06 | 1473669 | 150W, 6dB,N(f)-N(f), DC-2.4GHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0023 | Attenuator | 2023-07-25 | Automotive | 12 | 2024-07-25 | HCT | BIRD | 100-A-FFN-20 | 1473263 | 100W, 20dB,N(f)-N(f), DC-2.4GHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0024 | Voltage Probe | 2023-07-26 | Automotive | 12 | 2024-07-26 | HCT | Noiseken | 01-00061A | 200101 | 30MHz ~ 475MHz, 50Vdc | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0025 | Impulse Noise Simulator | 2023-07-26 | Automotive | 12 | 2024-07-26 | HCT | Noiseken | INS-0420 | INS1896448 | 1000ns, 2kV | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0026 | Coupling Adapter | N/A | Automotive | N/A | N/A | N/A | Noiseken | CA-806 | 15-00007A | N/A | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0027 | Coupling Cable Box | N/A | Automotive | N/A | N/A | N/A | Noiseken | N/A | N/A | 8uH, 64uH Included | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0028 | Active Rod Antenna | 2022-07-29 | Automotive | 24 | 2024-07-29 | HCT | Rohde & Schwarz | HFH2-Z6E | 101278 | 8.3kHz ~ 30MHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0029 | Biconical Antenna | 2022-08-18 | Automotive | 24 | 2024-08-18 | HCT | Rohde & Schwarz | HK116E | 101366 | 20 - 300MHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0030 | Log-periodic Antenna | 2022-08-16 | Automotive | 24 | 2024-08-16 | HCT | Rohde & Schwarz | HL223 | 100943 | 200 ~ 1300MHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0031 | Horn Antenna (EMI) | 2023-07-25 | Automotive | 24 | 2025-07-25 | HCT | Schwarzbeck | BBHA 9120 E | 00861 | 0.5 ~ 6GHz, 10 ~ 25dBi(f>0.8 GHz)，300w | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0032 | Stacked Log periodic Antenna | N/A | Automotive | N/A | N/A | N/A | Schwarzbeck | STLP 9128 ES | 3046 | 80 ~ 1700 MHz | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0033 | 6cm Loop Antenna | 2022-08-09 | Automotive | 24 | 2024-08-09 | HCT | ETS-Lindgren | 7405-901 | 920250 | 0.1 ~ 30 MHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0034 | Horn Antenna(EMS) | N/A | Automotive | N/A | N/A | N/A | Schwarzbeck | BBHA 9120 J | 5034 | 800 Mhz - 6.2 GHz, 400w | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0035 | Radar Pulse Antenna | N/A | Automotive | N/A | N/A | N/A | ETS-Lindgren | 3162-01 | 230335 | 1.1 ~ 1.5 GHz, VSMR typical gain at 1m | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0036 | Signal Generator | 2023-07-27 | Automotive | 12 | 2024-07-27 | HCT | Rohde & Schwarz | SMB100B | 102201 | 8kHz ~ 6GHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0037 | Arbitrary Generator | 2023-07-24 | Automotive | 12 | 2024-07-24 | HCT | Rohde & Schwarz | HMF2525 | 103548 | 25MHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0038 | Power Meter | 2023-07-27 | Automotive | 12 | 2024-07-27 | HCT | Rohde & Schwarz | NRX | 102045 | DC ~110GHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0039 | Average Power Sensor | 2023-07-26 | Automotive | 12 | 2024-07-26 | HCT | Rohde & Schwarz | NRP6A | 102698 | 8kHz ~ 6GHz; 100pW-200mW; N(m); cable req. | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0040 | Average Power Sensor | 2023-07-26 | Automotive | 12 | 2024-07-26 | HCT | Rohde & Schwarz | NRP6A | 102699 | 8kHz ~ 6GHz; 100pW-200mW; N(m); cable req. | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0041 | Average Power Sensor | 2023-07-27 | Automotive | 12 | 2024-07-27 | HCT | Rohde & Schwarz | NRP6AN | 101475 | 8kHz - 6GHz; 100pW-200mW; N(m) | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0042 | Wideband Power Sensor | 2023-07-26 | Automotive | 12 | 2024-07-26 | HCT | Rohde & Schwarz | NRP-Z81 | 106210 | 50MHz ~ 18GHz; 1nW to 100mW, N(m) | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0043 | Wideband Power Sensor | 2023-07-26 | Automotive | 12 | 2024-07-26 | HCT | Rohde & Schwarz | NRP-Z81 | 106211 | 50MHz ~ 18GHz; 1nW to 100mW, N(m) | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0044 | Dual Directional Coupler | 2023-07-26 | Automotive | 12 | 2024-07-26 | HCT | Amplifier Research | DC3002A | 0353509 | 100KHz ~ 1 000MHz, 120WATT | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0045 | Dual Directional Coupler | 2023-07-26 | Automotive | 12 | 2024-07-26 | HCT | Amplifier Research | DC7205A | 0353814 | 0.7 ~ 6GHz,250W CW,40dB,50ohm | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0046 | Dual Directional Coupler | 2023-07-26 | Automotive | 12 | 2024-07-26 | HCT | MARKI MICROWAVE | CA18 | 1945 | 18 GHz (N Type F connectors) | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0047 | Dual Directional Coupler | 2023-07-26 | Automotive | 12 | 2024-07-26 | HCT | BONN Elektronik | BDC 0210-40/150 | 1926782-03 | 20 ~ 1000MHz, 150W, 40dB | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0048 | Power Amplifier | N/A | Automotive | N/A | N/A | N/A | Rohde & Schwarz | BBA150-A200 | 104124 | 9kHz ~ 250MHz, 200[W] | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0049 | Power Amplifier | N/A | Automotive | N/A | N/A | N/A | Rohde & Schwarz | BBA150-BC1000 | 104125 | 80Mz ~ 1GHz, 1000[W] | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0050 | Power Amplifier | N/A | Automotive | N/A | N/A | N/A | Rohde & Schwarz | BBA150-D800 | 104153 | 0.69GHz ~ 3.2Hz, 800[W] | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0051 | Pulse limiter | 2023-07-25 | Automotive | 12 | 2024-07-25 | HCT | Schwarzbeck | VTSD 9561-F | 00671 | DC - 200 MHz, < 100 dBµV, 10 dB +/- 0.5 dB | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0052 | Power Amplifier | N/A | Automotive | N/A | N/A | N/A | Rohde & Schwarz | BBA150-E100 | 104156 | 2.5GHz ~ 6GHz, 100[W] | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0053 | Bulk Current Injection Probe | 2023-07-27 | Automotive | 12 | 2024-07-27 | HCT | FCC | F-130A-1 | 194037 | 10kHz ~ 400MHz, 40mm | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0054 | BCI Calibration Fixture | 2023-07-27 | Automotive | 12 | 2024-07-27 | HCT | FCC | FCC-BCICF-1 | 194038 | 10kHz ~ 400MHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0055 | Bulk Current Injection Probe | 2023-07-27 | Automotive | 12 | 2024-07-27 | HCT | FCC | F-140 | 193465 | 100 kHz ~ 1 GHz,40 mm, 100 W | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0056 | BCI Calibration Fixture | 2023-07-27 | Automotive | 12 | 2024-07-27 | HCT | FCC | FCC-BCICF-2 | 193466 | 10k-1GHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0057 | Bulk Current Injection Probe | 2023-07-27 | Automotive | 12 | 2024-07-27 | HCT | FCC | F-150 | 193467 | 800 MHz ~ 2.1 GHz,VSWR: <3:1 | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0058 | BCI Calibration Fixture | 2023-07-27 | Automotive | 12 | 2024-07-27 | HCT | FCC | FCC-BCICF-150 | 193468 | N/A | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0059 | Analog Optical System | N/A | Automotive | N/A | N/A | N/A | EMCtools | 90 | 0801350/0801351 | LIN SET | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0060 | Analog Optical System | N/A | Automotive | N/A | N/A | N/A | EMCtools | 70 | N/A | LS CAN SET | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0061 | Analog Optical System | N/A | Automotive | N/A | N/A | N/A | EMCtools | 50 | 0401417/0401418 | HS CAN SET | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0062 | DC Power Supply | 2023-07-25 | Automotive | 12 | 2024-07-25 | HCT | ACP | ACPD 5050 | N/A | DC ~ 30V, 1kW | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0063 | DC Power Supply | 2023-07-25 | Automotive | 12 | 2024-07-25 | HCT | ACP | ACPD 50050 | N/A | DC ~ 500V, 1.5kW | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0064 | Mobile Antenna | N/A | Automotive | N/A | N/A | N/A | Diamond Antenna | HF-6FX | N/A | 50MHz, 120W, VSWR <1.5:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0065 | Mobile Antenna | N/A | Automotive | N/A | N/A | N/A | Diamond Antenna | HF-10FX | N/A | 28MHz, 250W, VSWR <1.5:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0066 | Mobile Antenna | N/A | Automotive | N/A | N/A | N/A | Diamond Antenna | HF-15FX | N/A | 21MHz, 220W, VSWR <1.5:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0067 | Mobile Antenna | N/A | Automotive | N/A | N/A | N/A | Diamond Antenna | HF-40FXW | N/A | 7MHz, 200W, VSWR <1.5:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0068 | Mobile Antenna | N/A | Automotive | N/A | N/A | N/A | Diamond Antenna | HF-80FX | N/A | 3.5MHz, 120W, VSWR <1.5:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0069 | Mobile Antenna | N/A | Automotive | N/A | N/A | N/A | Diamond Antenna | NR770S | N/A | 144 MHz/430 MHz , 100 W, VSWR <1.5:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0070 | Mobile Antenna | N/A | Automotive | N/A | N/A | N/A | Diamond Antenna | MR2A | N/A | 1.5 D-QSUPER (1m) 3.5 DQEFV (3m) | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0071 | Sleeve Antenna | N/A | Automotive | N/A | N/A | N/A | TOYO | CV07-144 | N/A | 144 MHz, VSWR <1.36:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0072 | Sleeve Antenna | N/A | Automotive | N/A | N/A | N/A | TOYO | CV07-430 | N/A | 430 MHz, VSWR <1.24:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0073 | Sleeve Antenna | N/A | Automotive | N/A | N/A | N/A | TOYO | CV07-725 | N/A | 725 MHz, VSWR <1.38:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0074 | Sleeve Antenna | N/A | Automotive | N/A | N/A | N/A | TOYO | CV07-790 | N/A | 790 MHz, VSWR <1.31:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0075 | Sleeve Antenna | N/A | Automotive | N/A | N/A | N/A | TOYO | CV07-835 | N/A | 835 MHz, VSWR <1.40:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0076 | Sleeve Antenna | N/A | Automotive | N/A | N/A | N/A | TOYO | CV07-850 | N/A | 850 MHz, VSWR <1.39:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0077 | Sleeve Antenna | N/A | Automotive | N/A | N/A | N/A | TOYO | CV07-890 | N/A | 890MHz, VSWR <1.33:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0078 | Sleeve Antenna | N/A | Automotive | N/A | N/A | N/A | TOYO | CV07-900 | N/A | 900 MHz, VSWR <1.38:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0079 | Sleeve Antenna | N/A | Automotive | N/A | N/A | N/A | TOYO | CV07-910 | N/A | 910 MHz, VSWR <1.35:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0080 | Sleeve Antenna | N/A | Automotive | N/A | N/A | N/A | TOYO | CV07-1280 | N/A | 1280 MHz, VSWR <1.41:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0081 | Sleeve Antenna | N/A | Automotive | N/A | N/A | N/A | TOYO | CV07-1440 | N/A | 1440 MHz, VSWR <1.41:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0082 | Sleeve Antenna | N/A | Automotive | N/A | N/A | N/A | TOYO | CV07-1750 | N/A | 1750 MHz, VSWR <1.31:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0083 | Sleeve Antenna | N/A | Automotive | N/A | N/A | N/A | TOYO | CV07-1880 | N/A | 1880 MHz, VSWR <1.43:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0084 | Sleeve Antenna | N/A | Automotive | N/A | N/A | N/A | TOYO | CV07-1950 | N/A | 1950 MHz, VSWR <1.41:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0085 | Sleeve Antenna | N/A | Automotive | N/A | N/A | N/A | TOYO | CV07-2350 | N/A | 2350 MHz, VSWR <1.21:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0086 | Sleeve Antenna | N/A | Automotive | N/A | N/A | N/A | TOYO | CV07-2450 | N/A | 2450 MHz, VSWR <1.24:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0087 | Sleeve Antenna | N/A | Automotive | N/A | N/A | N/A | TOYO | CV07-2550 | N/A | 2550 MHz, VSWR <1.23:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0088 | Sleeve Antenna | N/A | Automotive | N/A | N/A | N/A | TOYO | CV07-3500 | N/A | 3500 MHz, VSWR <1.01:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0089 | Sleeve Antenna | N/A | Automotive | N/A | N/A | N/A | TOYO | EMC-144 | N/A | 144 MHz, VSWR <1.5:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0090 | Sleeve Antenna | N/A | Automotive | N/A | N/A | N/A | TOYO | EMC-430 | N/A | 430 MHz, VSWR <1.17:1 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0091 | Magnetic Radiating Loop | N/A | Automotive | N/A | N/A | N/A | SOLAR | 9230-1 | 221065-2 | RI 140,0=120mm/f:30Hz,100kHz | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0092 | Loop Sensor | 2023-07-26 | Automotive | 24 | 2025-07-26 | HCT | SOLAR | 9229-1 | 221065-1 | 10Hz ~ 200kHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0093 | Programmable Power Supply | 2023-07-24 | Automotive | 12 | 2024-07-24 | HCT | Rohde & Schwarz | HMP2020 | 101933 | 2-Channel power supply, 0V ~ 32V, max. 10A, Max. 188W | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0094 | Digital Multimeter | 2023-07-24 | Automotive | 12 | 2024-07-24 | HCT | KEYSIGHT | 34465A | MY59020718 | 6.5 digit Multimeter | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0095 | Load Dump Generator | 2023-07-25 | Automotive | 12 | 2024-07-25 | HCT | EM Test | LD 200N | P1951236215 | 115V/230V +10%/-15%, Max. 80V/30A | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0096 | Auto Wave | 2023-07-25 | Automotive | 12 | 2024-07-25 | HCT | EM Test | Auto wave | P2004237788 | AC 90~250 V / 47 Hz~63 Hz > DC 12 V to 32 V | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0097 | Capacitive Coupling Clamp | 2023-07-25 | Automotive | 12 | 2024-07-25 | HCT | EM Test | ACC | P1949235567 | Max. Voltage 1kV, 1000 mm x 140 mm, Height 27 mm | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0098 | NE-DCC-ed3 | N/A | Automotive | N/A | N/A | N/A | NAKANO EMC | NE-DCC-ed3 | N/A | Fast Pulse / Slow Pulse | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0099 | MN2-F130A-1 | N/A | Automotive | N/A | N/A | N/A | EM Test | MN2-F130A-1 | P1946236262 | N/A | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0100 | RCB200N1 | N/A | Automotive | N/A | N/A | N/A | EM Test | RCB200N1 | P1950236090 | CI 220, CI260 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0101 | Ultra Compact Simulator | 2023-07-24 | Automotive | 12 | 2024-07-24 | HCT | EM Test | UCS 200N50 | P1632182856 | 60V/50A Automotive generator | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0102 | Voltage Drop Simulator | 2023-07-25 | Automotive | 12 | 2024-07-25 | HCT | EM Test | VDS 200Q50 | P1629181977 | -15V to +60V/50A | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0103 | Matching Resistor | 2023-07-24 | Automotive | 12 | 2024-07-24 | HCT | EM Test | CA ISO | P1639184581 | 0.5ohm, 1ohm, 2ohm, 4ohm, 10ohm, 20ohm, 50ohm | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0104 | Electronic Switch | 2023-07-24 | Automotive | 12 | 2024-07-24 | HCT | EM Test | BS 200N100 | P1651189891 | DC 60V /100 A | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0105 | Mechanical Switch | 2023-07-24 | Automotive | 12 | 2024-07-24 | HCT | EM Test | BSM 200N40 | P1651189885 | DC 24V/40 A | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0106 | Single-Line Artificial Network | 2023-07-25 | Automotive | 12 | 2024-07-25 | HCT | EM Test | AN 2050N | P1347126205 | 100kHz ~ 108MHz, DC 400V, AC 250V(up to 1kHz) | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0107 | Load Impedance | 2023-07-24 | Automotive | 12 | 2024-07-24 | HCT | EM Test | CA BS 200N | P1643186060 | 10ohm, 20ohm, 40ohm, 120ohm, DC 28V/50A | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0108 | RESISTOR BOX | 2023-07-24 | Automotive | 12 | 2024-07-24 | HCT | EM Test | RS-BOX | P1647187619 | Shunt resistors 10 Ω, 20 Ω, 40 Ω, 120 Ω | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0109 | Isotropic Field Sensor | 2023-08-04 | Automotive | 12 | 2024-08-04 | HCT | LUMILOOP | LSPROBE1.2 | 322 | 10kHz to 6GHz, 200V/m | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0110 | Load Resistor | 2023-07-26 | Automotive | 12 | 2024-07-26 | HCT | BIRD | 2542103 | 201100250 | 1.5kW DC to 2000MHz c/w 7/16 (F) connector | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0111 | BCT2080 Termination | 2023-07-26 | Automotive | 12 | 2024-07-26 | HCT | BONN Elektronik | BCT 2080-1000 | 1912683 | 2000 ~ 8000MHz,1000W,Input VSWR1.2:1 max | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0112 | NMH6M ANTENNA SET | N/A | Automotive | N/A | N/A | N/A | Schwarzbeck | NMH6M ANTENNA SET | 89 | N/A | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0113 | Power Amplifier | N/A | Automotive | N/A | N/A | N/A | AE Techron | 7224 | 2399 | 1kVA, DC-300KHz, Output P:1100w to 8ohms | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0114 | Circular Radiating Loop | N/A | Automotive | N/A | N/A | N/A | Schwarzbeck | FESP5133 | 83 | 0 - 20 (50) kHz | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0115 | Gaussmeter | 2023-07-27 | Automotive | 12 | 2024-07-27 | HCT | Lake Shore | 425 | LSA26H8 | N/A | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0116 | Bias Unit | N/A | Automotive | N/A | N/A | N/A | Rohde & Schwarz | IN600 | 101125 | 8.3kHz ~ 8GHz, for HFH2-Z6E | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0117 | Breaker Box | N/A | Automotive | N/A | N/A | N/A | Noiseken | 18-00072A | N/A | AC 250V,20A / DC 65V,20A | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0118 | Coupling Cable (470pF) | N/A | Automotive | N/A | N/A | N/A | Noiseken | N/A | N/A | Capacitor 470pF | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0119 | Coupling Cable (10pF) | N/A | Automotive | N/A | N/A | N/A | Noiseken | N/A | N/A | Capacitor 10pF | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0120 | Termination | 2023-07-26 | Automotive | 12 | 2024-07-26 | HCT | Kyoritsu | 300-WT-FN | 1479897 | 300 Watt | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0121 | Log-periodic Antenna | 2022-08-26 | Automotive | 24 | 2024-08-26 | OHTAMA | Kyoritsu | TBA-623 | 12-20-155 | 280MHz ~ 1,000MHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0122 | Oscilloscope | 2023-07-24 | Automotive | 12 | 2024-07-24 | HCT | Rohde & Schwarz | RTO2014 | 100717 | 600MHz ~ 6GHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0123 | Multimeter | 2023-07-24 | Automotive | 12 | 2024-07-24 | KTICC | FLUKE | 115 | 48520410SV | AC/DC 600V | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0124 | TEM CELL | N/A | Automotive | N/A | N/A | N/A | Kyoritsu | TTC-502 | 12-20-148 | DC ~ 400MHz | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0125 | Temp and Humidity recorder | 2023-07-27 | Automotive | 12 | 2024-07-27 | HCT | LUTRON | MHB-382SD | AJ.84535 | 50℃, 90% | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0126 | Measuring Box Antenna | N/A | Automotive | N/A | N/A | N/A | TESTEK | N/A | N/A | N/A | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0127 | Attenuator | 2023-07-25 | Automotive | 12 | 2024-07-25 | HCT | Fairview Microwave | SA6N5WA-03 | N/A | Attenuation 3±0.75dB, DC to 6 GHz, Max Power 5 W | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0128 | Attenuator | 2023-07-25 | Automotive | 12 | 2024-07-25 | HCT | Fairview Microwave | SA6N5WA-06 | N/A | Attenuation 6±0.75dB, DC to 6 GHz, Max Power 5 W | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0129 | G-TEM 750 | N/A | Automotive | N/A | N/A | N/A | Teseq | G-TEM 750 | 57243 | DC up to 20 GHz | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0131 | ESD Simulator | 2023-07-28 | Automotive | 12 | 2024-07-28 | HCT | Teseq | NSG 438 | 1820 | up to 30kV, (150 / 330) pF, (330 / 2k) Ω | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0132 | Analog Optical Converter | N/A | Automotive | N/A | N/A | N/A | MK | U2/12 | 21-026356-1 / 21-026356-2 | 2 channel analog, 1M | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0133 | Field Coupling Plane | N/A | Automotive | N/A | N/A | N/A | ERETEC | N/A | N/A | Size : 300 x 350 | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0134 | OSP220 | N/A | Automotive | N/A | N/A | N/A | Rohde & Schwarz | OSP220 | 101751 | Size : 444.7 mm × 107.6 mm × 471.9 mm | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0135 | Ethernet Optic Converter SET | N/A | Automotive | N/A | N/A | N/A | mk-messtechnik Gmb | 88Q2112 | 22-030968 / 22-030969, 22-031201 | 1000Base-T1 / 100Base-T1, SET | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0136 | Biconical Antenna | N/A | Automotive | N/A | N/A | N/A | TDK RF Solutions | HBA-2030 | 131448 | 20 MHz ~ 300 MHz | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0137 | Small biconical microwave Antenna | N/A | Automotive | N/A | N/A | N/A | Schwarzbeck | SBA 9119 | 00644 | 1 GHz ~ 6 GHz, 20 W | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0138 | Field Monitoring Coil | 2023-02-13 | Automotive | 24 | 2025-02-13 | HCT | Schwarzbeck | FESP 5133-7/41 | 00522 | 0.01 kHz - 250 kHz | 2F-Auto | 외부교정 | X | 박경태 | 이원희
SUW-A0139 | Folded Dipole Antennas SET | N/A | Automotive | N/A | N/A | N/A | IVIEW | IMDA Set | IMDA Set-DD0822016_2 | 146,156,165,174,222MHz | 2F-Auto | 비대상 | X | 박경태 | 이원희
SUW-A0140 | Pre-Amplifier | 2023-10-05 | Automotive | 12 | 2024-10-05 | HCT | EXYNOD | ELENA01-45D | 631511 | 9kHz ~ 1GHz, 45dB gain | 2F-Auto | 외부교정 | X | 박경태 | 이원희
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X

## SAR list (hidden)
번호 | 장비명 | 제조사 | 모델명 | 일련번호 | 관리번호 | 교정 | 최종교정일 | 교정주기 | 차기교정일 | 장비사양 | 설치장소
1 | Signal Generator | AGILENT | N5181A | MY50145882 | SUW-S0001 | HCT | 2015-08-18 | 12 | 2016-08-18 | 100KHz ~ 6GHz | 2F- SAR
2 | Attenuator | AGILENT | 8491B/003 | MY39269292 | SUW-S0002 | HCT | 2015-08-18 | 12 | 2016-08-18 | 3dB | 2F- SAR
3 | Attenuator | AGILENT | 8491B/010 | MY39269315 | SUW-S0003 | HCT | 2015-08-18 | 12 | 2016-08-18 | 10dB | 2F- SAR
4 | Attenuator | AGILENT | 8491B/020 | MY39269298 | SUW-S0004 | HCT | 2015-08-18 | 12 | 2016-08-18 | 20dB | 2F- SAR
5 | Amplifier | EXODUS | AMP2027 | 1410025- AMP2027-10003 | SUW-S0005 | HCT | 2015-08-18 | 12 | 2016-08-18 | 100M~6GHz | 2F- SAR
6 | Low Pass Filter | MICROLAB | LA-15N | 03943 | SUW-S0006 | HCT | 2015-08-18 | 12 | 2016-08-18 | ~1.5GHz | 2F- SAR
7 | Low Pass Filter | FILTRON | L14012FL | 1410003S | SUW-S0007 | HCT | 2015-08-18 | 12 | 2016-08-18 | ~3GHz | 2F- SAR
8 | Low Pass Filter | MICROLAB | LA-60N | 03942 | SUW-S0008 | HCT | 2015-08-18 | 12 | 2016-08-18 | ~6GHz | 2F- SAR
9 | Directional Coupler | AGILENT | 778D | MY52180432 | SUW-S0009 | HCT | 2015-08-18 | 12 | 2016-08-18 | 2~18GHz | 2F- SAR
10 | Directional Coupler | AGILENT | 772D | MY52180193 | SUW-S0010 | HCT | 2015-08-18 | 12 | 2016-08-18 | 100M~2GHz | 2F- SAR
11 | Wideband Radio Communications Tester | ROHDE & SCHWARZ | CMW500 | 150313 | SUW-S0011 | HCT | 2015-08-18 | 12 | 2016-08-18 | GSM,CDMA,WCDMA,LTE | 2F- SAR
12 | Wideband Radio Communications Tester | ROHDE & SCHWARZ | CMW500 | 150314 | SUW-S0012 | HCT | 2015-08-18 | 12 | 2016-08-18 | GSM,CDMA,WCDMA,LTE | 2F- SAR
13 | Power Sensor | AGILENT | U2000A | MY54260010 | SUW-S0013 | HCT | 2015-08-18 | 12 | 2016-08-18 | 10MHz ~ 18GHz | 2F- SAR
14 | Power Sensor | AGILENT | U2000A | MY54260007 | SUW-S0014 | HCT | 2015-08-18 | 12 | 2016-08-18 | 10MHz ~ 18GHz | 2F- SAR
15 | Dipole Antenna | SPEAG | D750V3 | 1122 | SUW-S0015 | SPEAG | 2015-08-17 | 12 | 2016-08-17 | Head & Body 750 MHz | 2F- SAR
16 | Dipole Antenna | SPEAG | D835V2 | 4d174 | SUW-S0016 | SPEAG | 2015-09-30 | 12 | 2016-09-30 | Head & Body 835 MHz | 2F- SAR
17 | Dipole Antenna | SPEAG | D1750V2 | 1125 | SUW-S0017 | SPEAG | 2015-08-20 | 12 | 2016-08-20 | Head & Body 1750 MHz | 2F- SAR
18 | Dipole Antenna | SPEAG | D1900V2 | 5d190 | SUW-S0018 | SPEAG | 2015-09-29 | 12 | 2016-09-29 | Head & Body 1900 MHz | 2F- SAR
19 | Dipole Antenna | SPEAG | D1950V3 | 1157 | SUW-S0019 | SPEAG | 2015-09-29 | 12 | 2016-09-29 | Head & Body 1950 MHz | 2F- SAR
20 | Dipole Antenna | SPEAG | D2100V2 | 1037 | SUW-S0020 | SPEAG | 2015-09-29 | 12 | 2016-09-29 | Head & Body 2100 MHz | 2F- SAR
21 | Dipole Antenna | SPEAG | D2450V2 | 939 | SUW-S0021 | SPEAG | 2015-09-28 | 12 | 2016-09-28 | Head & Body 2450 MHz | 2F- SAR
22 | Dipole Antenna | SPEAG | D5GHzV2 | 1184 | SUW-S0022 | SPEAG | 2015-08-26 | 12 | 2016-08-26 | Head & Body 5 GHz | 2F- SAR
23 | NETWORK ANALYZER | AGILENT | E5071C | MY46522054 | SUW-S0023 | HCT | 2015-08-18 | 12 | 2016-08-18 | 9KHz~6.5GHz | 2F- SAR
24 | DIELECTRIC PROBES | SPEAG | DAK-3.5 Probe | 1196 | SUW-S0024 | SPEAG | 2015-08-04 | 12 | 2016-08-04 | 200MHz~20GHz | 2F- SAR
25 | Thermometer | LKM | DTM3000 | 3424 | SUW-S0025 | HCT | 2015-08-19 | 12 | 2016-08-19 | −200 ~ 820°C | 2F- SAR
26 | Shield Room | EME | N/A | N/A | SUW-S0026 | N/A | N/A | N/A | N/A | 7000×5000×3000 (mm) | 2F- SAR
27 | Shield Room | EME | N/A | N/A | SUW-S0027 | N/A | N/A | N/A | N/A | 7000×5000×3000 (mm) | 2F- SAR
28 | Shield Room | EME | N/A | N/A | SUW-S0028 | N/A | N/A | N/A | N/A | 7000×5000×3000 (mm) | 2F- SAR
29 | Data Acquisition System | SPEAG | DAE4 | 1494 | SUW-S0029 | SPEAG | 2015-11-11 | 12 | 2016-11-11 | -100 TO +300Mv | 2F- SAR
30 | Data Acquisition System | SPEAG | DAE4 | 1447 | SUW-S0030 | SPEAG | 2015-09-23 | 12 | 2016-09-23 | -100 TO +300Mv | 2F- SAR
31 | E-field probe | SPEAG | EX3DV4 | 7313 | SUW-S0031 | SPEAG | 2015-07-23 | 12 | 2016-07-23 | 10MHz to 6GHz | 2F- SAR
32 | E-field probe | SPEAG | EX3DV4 | 7314 | SUW-S0032 | SPEAG | 2015-09-25 | 12 | 2016-09-25 | 10MHz to 6GHz | 2F- SAR
33 | Temp and Humidity recorder | LUTRON | MHB-382SD | AH.50215 | SUW-S0033 | HCT | 2015-08-19 | 12 | 2016-08-19 | 50℃, 90% | 2F- SAR
34 | Temp and Humidity recorder | LUTRON | MHB-382SD | AH.50213 | SUW-S0034 | HCT | 2015-08-24 | 12 | 2016-08-24 | 50℃, 90% | 2F- SAR
35 | Digital Multimeter | FLUKE | 17B | 27770592WS | SUW-S0035 | HCT | 2015-08-18 | 12 | 2016-08-18 | 1000V | 2F- SAR
36 | Digital Multimeter | FLUKE | 17B | 28050366WS | SUW-S0036 | HCT | 2015-08-18 | 12 | 2016-08-18 | 1000V | 2F- SAR
37 | Dasy52 | SPEAG | Dasy52 SAR System | F14/5T5ZB1/A/01 | SUW-S0037 | N/A | N/A | N/A | N/A |  | 2F- SAR
38 | Dasy52 | SPEAG | Dasy52 SAR System | F14/5VR2C1/A/01 | SUW-S0038 | N/A | N/A | N/A | N/A |  | 2F- SAR
39 | Dipole Antenna | SPEAG | D835V2 | 4d194 | SUW-S0039 | SPEAG | 2015-09-17 | 12 | 2016-09-17 | Head & Body 835 MHz | 2F- SAR
40 | Dipole Antenna | SPEAG | D1800V2 | 2d204 | SUW-S0040 | SPEAG | 2015-01-09 | 12 | 2016-01-09 | Head & Body 1800 MHz | 2F- SAR
41 | Dipole Antenna | SPEAG | D1900V2 | 5d199 | SUW-S0041 | SPEAG | 2015-02-06 | 12 | 2016-02-06 | Head & Body 1900 MHz | 2F- SAR
42 | Dipole Antenna | SPEAG | D2450V2 | 960 | SUW-S0042 | SPEAG | 2015-02-05 | 12 | 2016-02-05 | Head & Body 2450 MHz | 2F- SAR
43 | Dipole Antenna | SPEAG | D2600V2 | 1097 | SUW-S0043 | SPEAG | 2015-11-18 | 12 | 2016-11-18 | Head & Body 2600 MHz | 2F- SAR
44 | Dipole Antenna | SPEAG | D5GHzV2 | 1209 | SUW-S0044 | SPEAG | 2015-02-10 | 12 | 2016-02-10 | Head & Body 5GHz | 2F- SAR
45 | Data Acquisition System | SPEAG | DAE4 | 1468 | SUW-S0045 | SPEAG | 2015-09-15 | 12 | 2016-09-15 | -100 TO +300Mv | 2F- SAR
46 | E-field probe | SPEAG | EX3DV4 | 7376 | SUW-S0046 | SPEAG | 2015-09-02 | 12 | 2016-09-02 | 10MHz to 6GHz | 2F- SAR
47 | E-field probe | SPEAG | EX3DV4 | 7330 | SUW-S0047 | SPEAG | 2015-02-12 | 12 | 2016-02-12 | 10MHz to 6GHz | 2F- SAR
48 | Dasy52 | SPEAG | Dasy52 SAR System | F14/5W9FA1/A/01 | SUW-S0048 | N/A | N/A | N/A | N/A |  | 2F- SAR
49 | Temp and Humidity recorder | LUTRON | MHB-382SD | AH.91478 | SUW-S0049 | HCT | 2015-08-12 | 12 | 2016-08-12 | 50℃, 90% | 2F- SAR
50 | Temp and Humidity recorder | LUTRON | MHB-382SD | AH.91463 | SUW-S0050 | HCT | 2015-08-12 | 12 | 2016-08-12 | 50℃, 90% | 2F- SAR
51 | Wireless communications test set | AGILENT | E5515C | MY50260520 | SUW-S0051 | HCT | 2015-10-05 | 12 | 2016-10-05 | GSM,CDMA,WCDMA | 2F- SAR