## 시험설비 관리대장
| (G-EMC팀) 시험설비 관리대장 | [14 empty] | 최종 업데이트 일자 : 2025.02.10
관리번호 | 자산번호 (번호 or N/A) | 장비명 | 소속팀 | 관리방법 (외부교정/자체점검/비대상) | 최종교정일 | 교정기관 | 교정주기 (개월) | 차기교정일 | 제조사 | 구입년도 | 모델명 | 일련번호 | 장비사양 | 위치 | 중간점검 대상 (O/X) | 가용 여부 (사용/고장/여분)
SUW-R0001 | N/A | ESD Simulator | EMC | 외부교정 | 2024-07-29 | HCT | 12 | 2025-07-29 | NOISEKEN | 2017 | ESS-S3011 | ESS15Y2243 | 0.20kV ~ 30.0kV±5% (30.5kVmax) | 3F-EMC | O | 사용
SUW-R0002 | N/A | ESD Gun | EMC | 외부교정 | 2024-07-29 | HCT | 12 | 2025-07-29 | NOISEKEN | 2017 | GT-30R | ESS15Y2319 | 0.20kV ~ 30.0kV±5% (30.5kVmax) | 3F-EMC | O | 사용
SUW-R0003 | N/A | CR Unit 150p-330 | EMC | 외부교정 | 2024-07-29 | HCT | 12 | 2025-07-29 | NOISEKEN | 2017 | 06-00073B | ESS15Y2147 | 150p-330 | 3F-EMC | O | 사용
SUW-R0007 | N/A | Gun Head 330 | EMC | 외부교정 | 2024-07-29 | HCT | 12 | 2025-07-29 | NOISEKEN | 2017 | ESS1602300 | ESS1602300 | 330 | 3F-EMC | O | 사용
SUW-R0009 | N/A | Discharge tip(Conical) | EMC | 자체점검 | 2024-07-26 | HCT | 12 | 2025-07-26 | NOISEKEN | 2017 | 12-00007A | - | - | 3F-EMC | X | 사용
SUW-R0010 | N/A | Discharge tip(Round) | EMC | 자체점검 | 2024-07-26 | HCT | 12 | 2025-07-26 | NOISEKEN | 2017 | 12-00008A | - | - | 3F-EMC | X | 사용
SUW-R0012 | N/A | Remocon | EMC | 자체점검 | N/A | N/A | N/A | N/A | NOISEKEN | 2017 | 13-00004A | - | - | 3F-EMC | X | 사용
SUW-R0013 | N/A | ESD Target | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | MWF | 2017 | MESD-T04G | 161146 | 1.2m x 1.2m x 1.2T PLANE | 3F-EMC | O | 사용
SUW-R0014 | N/A | High Voltage Meter | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | APPLIED KILOVOLTS | 2017 | 149-04 | 214669 | 2kV/20kV/60kV ±0.05% 100GΩ | 3F-EMC | O | 사용
SUW-R0015 | N/A | Ultra Compact Simulator(BURST) | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | EM TEST (Switzerland) | 2017 | UCS 500N7 | P1623180276 | Burst 5KV / Surge 7KV 1P 16A | 3F-EMC | O | 사용
SUW-R0016 | N/A | Capacitive Coupling Clamp | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | EM TEST (Switzerland) | 2017 | HFK | P1642185787 | IEC 61000-4-4 | 3F-EMC | O | 사용
SUW-R0017 | N/A | Motorized Variac | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | EM TEST (Switzerland) | 2017 | NX1-260-16 | P1643186425 | 0 - 260 V / 16 A | 3F-EMC | O | 사용
SUW-R0018 | N/A | Magnetic Field Coil | EMC | 외부교정 | 2024-07-24 | HCT | 12 | 2025-07-24 | EM TEST (Switzerland) | 2017 | MS100N | P1627181323 | Magnetic field coil 1 m x 1 m for EN 61000-4-8/9 | 3F-EMC | O | 사용
SUW-R0019 | N/A | Current Transformer | EMC | 외부교정 | 2024-07-24 | HCT | 12 | 2025-07-24 | EM TEST (Switzerland) | 2017 | MC2630 | P1644186779 | magnetic field coil 0 - 30 A (50A short term) | 3F-EMC | O | 사용
SUW-R0020 | N/A | Coupling/Decoupling Network | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | EM TEST (Switzerland) | 2017 | CNV 508N1 | P1623180333 | Coupling network for 8 lines as per IEC 61000-4-5 | 3F-EMC | O | 사용
SUW-R0021 | N/A | Calibration Set for HFK | EMC | 자체점검 | N/A | N/A | N/A | N/A | EM TEST (Switzerland) | 2017 | CA HFK | P1550168668 | Calibration Set for HFK as per IEC 61000-4-4 Ed.3 | 3F-EMC | X | 사용
SUW-R0022 | N/A | Calibration Kit for Burst Verification | EMC | 자체점검 | N/A | N/A | N/A | N/A | EM TEST (Switzerland) | 2017 | CA EFT | 107283 | adapter for DUT port in a plastic case for storage | 3F-EMC | X | 사용
SUW-R0025 | N/A | Matching Impedance Network | EMC | 자체점검 | N/A | N/A | N/A | N/A | EM TEST (Switzerland) | 2017 | IMN 2 | P1643186065 | match direct output to 2ohm source impedance | 3F-EMC | X | 사용
SUW-R0026 | N/A | Differential Voltage Probe | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | SAPPHIRE INSTRUMNETS | 2017 | SI-9010 | 168884 | Immunity test probes (electrical field generation) | 3F-EMC | O | 사용
SUW-R0027 | N/A | Current Probe | EMC | 외부교정 | 2024-07-24 | HCT | 12 | 2025-07-24 | PEARSON ELECTRONICS | 2017 | 411 | 160659 | Immunity test probes (magnetic field generation) | 3F-EMC | O | 사용
SUW-R0028 | N/A | Compact immunity test system | EMC | 외부교정 | 2024-07-26 | HCT | 12 | 2025-07-26 | TESEQ INC. | 2017 | NSG 4070B-80 | 44676 | 9 kHz - 1 GHz, 80W | 3F-EMC | O | 사용
SUW-R0029 | N/A | USB to Serial/Optical | EMC | 자체점검 | N/A | N/A | N/A | N/A | TESEQ INC. | 2017 | USO 4013 | 44664 | - | 3F-EMC | X | 사용
SUW-R0031 | N/A | CDN [M1] | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | TESEQ INC. | 2017 | CDN M116 | 44609 | type M1, 16 A , 10 kHz-80 MHz (banana) | 3F-EMC | O | 사용
SUW-R0032 | N/A | CDN [M2/3] | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | TESEQ INC. | 2017 | CDN M016 | 45060 | type M2/3 switchable 16 A, 150 kHz-230 (banana) | 3F-EMC | O | 사용
SUW-R0033 | N/A | CDN [T2] | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | TESEQ INC. | 2017 | CDN T2-10 | 45001 | type T2, 10 kHz-230 MHz, banana | 3F-EMC | O | 사용 |  | `
SUW-R0034 | N/A | CDN [T4] | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | TESEQ INC. | 2017 | CDN T4-10 | 44938 | type T4, 10 kHz-230 MHz, banana | 3F-EMC | O | 사용
SUW-R0036 | N/A | CDN [S1_50Ω] | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | TESEQ INC. | 2017 | CDN S501A | 44478 | type S1, 150 kHz-230 MHz (BNC 50Ohm) | 3F-EMC | O | 사용
SUW-R0037 | N/A | CDN [S1_75Ω] | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | TESEQ INC. | 2017 | CDN S751A | 44737 | type S1, 150 kHz-230 MHz (BNC 75Ohm) | 3F-EMC | O | 사용
SUW-R0038 | N/A | CDN [RJ45] | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | TESEQ INC. | 2017 | CDN ST08A | 45102 | type for screened eight lines with RJ45 connector | 3F-EMC | O | 사용
SUW-R0039 | N/A | CDN [AF2] | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | TESEQ INC. | 2017 | CDN A201A | 45019 | type AF2, 150 kHz-230MHz 4 A, (banana) | 3F-EMC | O | 사용
SUW-R0040 | N/A | EM Clamp | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | TESEQ INC. | 2017 | KEMZ 801A | 45030 | stress level setting and 50 Ω N type termination 1 Watts | 3F-EMC | O | 사용
SUW-R0041 | N/A | Attenuation clamp | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | TESEQ INC. | 2017 | KEMA 801A | 44955 | with IEC 61000-4-6 | 3F-EMC | O | 사용
SUW-R0042 | N/A | EMC(RS) Chamber | EMC | 자체점검 | N/A | N/A | N/A | N/A | EME | 2017 | - | - | - | RS/RE | X | 사용
SUW-R0043 | N/A | Turn Table | EMC | 자체점검 | N/A | N/A | N/A | N/A | EME | 2017 | DS2000-1t | - | - | RS/RE | X | 사용
SUW-R0044 | N/A | Antenna Mast | EMC | 자체점검 | N/A | N/A | N/A | N/A | EME | 2017 | MA4000-XPET | 501/36981015/L | - | RS/RE | X | 사용
SUW-R0045 | N/A | Antenna Mast | EMC | 자체점검 | N/A | N/A | N/A | N/A | EME | 2017 | MA4000-EP | 504/36981015/L | - | RS/RE | X | 사용
SUW-R0046 | N/A | Controller | EMC | 자체점검 | N/A | N/A | N/A | N/A | EME | 2017 | CO3000-4P with GPIB | 974/39541016/L | - | RS/RE | X | 사용
SUW-R0049 | N/A | 6KVA AC+DC Programable Power | EMC | 외부교정 | 2024-08-06 | HCT | 12 | 2025-08-06 | NEWTONS4TH LTD | 2017 | N4A06-M | 91J-11894 | 1P, 6KVA | 3F-EMC | O | 사용
SUW-R0050 | N/A | S DFT 1Phase Power analyzer | EMC | 외부교정 | 2024-07-29 | HCT | 12 | 2025-07-29 | NEWTONS4TH LTD | 2017 | PPA5511 | 162-04955 | 0.3mVpk~3KVpk(1KVrms) in 9 ranges | 3F-EMC | O | 사용
SUW-R0051 | N/A | Impedance Network | EMC | 외부교정 | 2024-07-29 | HCT | 12 | 2025-07-29 | NEWTONS4TH LTD | 2017 | IMP161 | 91G-11811 | RA = 0.24Ω jXA = 0.15Ω RN = 0.16Ω jXN = 0.10Ω | 3F-EMC | O | 사용
SUW-R0052 | N/A | Signal Generator | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | R&S | 2017 | SMB100A | 113804 | 9kHz to 6GHz | 1F-EMC | O | 사용
SUW-R0053 | N/A | Power Meter | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | R&S | 2017 | NRP2 | 105575 | Power meter | 1F-EMC | O | 사용
SUW-R0054 | N/A | Power Sensor | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | R&S | 2017 | NRP6A | 101019 | 8 kHz to 6 GHz 100pW to 200mW | 1F-EMC | O | 사용
SUW-R0055 | N/A | Power Sensor | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | R&S | 2017 | NRP6A | 101020 | 8 kHz to 6 GHz 100pW to 200mW | 1F-EMC | O | 사용
SUW-R0056 | N/A | Open Switch and Control Unit | EMC | 자체점검 | N/A | N/A | N/A | N/A | R&S | 2017 | OSP120 | 101741 | 9 KHz to 6 GHz | 1F-EMC | X | 사용
SUW-R0057 | N/A | Power Amp | EMC | 자체점검 | N/A | N/A | N/A | N/A | R&S | 2017 | BBA150 | 102016/102370 | 250W, 80 MHZ TO 1 GHZ | 1F-EMC | O | 사용
SUW-R0058 | N/A | Power Probe | EMC | 외부교정 | 2024-08-01 | HCT | 12 | 2025-08-01 | AR | 2017 | FL7006 | 347129 | 100 kHz - 6 GHz 0.5 - 800 V/m | 1F-EMC | O | 사용
SUW-R0059 | N/A | Probe Positioner | EMC | 자체점검 | N/A | N/A | N/A | N/A | INNCO | 2017 | FSM2315 | - | Field Probe Positioner | 1F-EMC | X | 사용
SUW-R0060 | N/A | Controller | EMC | 자체점검 | N/A | N/A | N/A | N/A | INNCO | 2017 | CO 3000-1D | CO3000/973 | Controller | 1F-EMC | X | 사용
SUW-R0061 | N/A | Log-Per Antenna | EMC | 자체점검 | N/A | N/A | N/A | N/A | SCHWARZBECK | 2017 | STLP9129 | 9129 023 | RANGE 70 MHZ TO 10 GHZ | 1F-EMC | X | 사용
SUW-R0063 | N/A | Temp and Humidity recorder | EMC | 외부교정 | 2024-07-24 | HCT | 12 | 2025-07-24 | LUTRON | 2017 | MHB-382SD | AI.69481 | 50℃, 90% | 3F-EMC | O | 사용
SUW-R0064 | N/A | Temp and Humidity recorder | EMC | 외부교정 | 2024-07-24 | HCT | 12 | 2025-07-24 | LUTRON | 2017 | MHB-382SD | AI.69482 | 50℃, 90% | 3F-EMC | O | 사용
SUW-R0073 | N/A | Oscilloscope | EMC | 외부교정 | 2024-07-24 | HCT | 12 | 2025-07-24 | R&S | 2017 | RTO2014 | 100716 | 4CH, 1GHz BW sampling rate 10GSa/s | 3F-EMC | O | 사용
SUW-R0087 | N/A | Power Amp | EMC | 자체점검 | N/A | N/A | N/A | N/A | R&S | 2017 | BBA150 | 102143 | - | 1F-EMC | O | 사용
SUW-R0088 | N/A | Gauss meter | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | F.W.BELL | 2017 | 5180 | 1642121 | - | 3F-Eq. | O | 사용
SUW-R0089 | N/A | Clamp meter | EMC | 비대상 | N/A | N/A | N/A | N/A | FLUKE | 2017 | 381 | 36990106WS | - | 3F-Eq. | X | 사용
SUW-R0090 | N/A | DMM | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | FLUKE | 2017 | 177 | 37850547 | - | 3F-Eq. | O | 사용
SUW-R0091 | N/A | DMM | EMC | 비대상 | N/A | N/A | N/A | N/A | FLUKE | 2017 | 177 | 37850548 | - | 3F-Eq. | X | 사용
SUW-R0092 | N/A | DMM | EMC | 비대상 | N/A | N/A | N/A | N/A | FLUKE | 2017 | 177 | 37850549 | - | 3F-Eq. | X | 사용
SUW-R0093 | N/A | Electrostatic field meter | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | SIMCO | 2017 | FMX-004 | FX11461 | - | 3F-Eq. | O | 사용
SUW-R0094 | N/A | DC power supply | EMC | 자체점검 | N/A | N/A | N/A | N/A | KEYSIGHT | 2017 | N5747A | MY57300040 | UP to DC 60 V // UP to 12.5 A | 3F-EMC | O | 사용
SUW-R0095 | N/A | DC power supply | EMC | 자체점검 | N/A | N/A | N/A | N/A | KEYSIGHT | 2017 | U8002A | US17H9355P | - | 3F-EMC | O | 사용
SUW-R0098 | N/A | Termination | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | TESEQ INC. | 2017 | None | None | CS CDN | 3F-Eq. | O | 사용
SUW-R0099 | N/A | Termination | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | TESEQ INC. | 2017 | None | None | CS CDN | 3F-Eq. | O | 사용
SUW-R0101 | N/A | Termination | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | TESEQ INC. | 2017 | None | None | CS CDN | 3F-Eq. | O | 사용
SUW-R0102 | N/A | CALIBIRATION UNIT | EMC | 외부교정 | 2024-07-26 | HCT | 12 | 2025-07-26 | TESEQ INC. | 2017 | CAL 801A | 75418.1 | - | 3F-Eq. | O | 사용
SUW-R0103 | N/A | CALIBIRATION UNIT | EMC | 외부교정 | 2024-07-26 | HCT | 12 | 2025-07-26 | TESEQ INC. | 2017 | CAL 801A | 75418.2 | - | 3F-Eq. | O | 사용
SUW-R0104 | N/A | CALIBRATION FIXTURE | EMC | 외부교정 | 2024-07-26 | HCT | 12 | 2025-07-26 | TESEQ INC. | 2017 | CAL KEMZ | 75376.1 | - | 3F-Eq. | O | 사용
SUW-R0105 | N/A | CALIBRATION FIXTURE | EMC | 외부교정 | 2024-07-26 | HCT | 12 | 2025-07-26 | TESEQ INC. | 2017 | CAL KEMZ | 75376.2 | - | 3F-Eq. | O | 사용
SUW-R0107 | N/A | CDN CALIBRATION ADAPTOR | EMC | 외부교정 | 2024-07-26 | HCT | 12 | 2025-07-26 | TESEQ INC. | 2017 | CAL U100B | 44799 | - | 3F-Eq. | O | 사용
SUW-R0108 | N/A | CDN CALIBRATION ADAPTOR | EMC | 외부교정 | 2024-07-26 | HCT | 12 | 2025-07-26 | TESEQ INC. | 2017 | CAL U100B | 44800 | - | 3F-Eq. | O | 사용
SUW-R0114 | N/A | CDN CALIBRATION ADAPTOR | EMC | 외부교정 | 2024-07-26 | HCT | 12 | 2025-07-26 | TESEQ INC. | 2017 | CAL U100B | 44835 | - | 3F-Eq. | O | 사용
SUW-R0115 | N/A | CDN CALIBRATION ADAPTOR | EMC | 외부교정 | 2024-07-26 | HCT | 12 | 2025-07-26 | TESEQ INC. | 2017 | CAL U100B | 44836 | - | 3F-Eq. | O | 사용
SUW-R0119 | N/A | CDN [M2/3] | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | TESEQ INC. | 2017 | CDN M016 | 47488 | - | 3F-Eq. | O | 사용
SUW-R0120 | N/A | CDN [M2/3] | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | TESEQ INC. | 2017 | CDN M016 | 47489 | - | 3F-Eq. | O | 사용
SUW-R0121 | N/A | DC LISN | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | SCHWARZBECK | 2017 | NNBM8124 | 06173 | - | 3F-Eq. | O | 사용
SUW-R0122 | N/A | DC LISN | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | SCHWARZBECK | 2017 | NNBM8124 | 06174 | - | 3F-Eq. | O | 사용
SUW-R0123 | N/A | 8-WIRE ISN | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | SCHWARZBECK | 2017 | CAT5 8158 | 190 | - | 3F-Eq. | O | 사용
SUW-R0124 | N/A | 8-WIRE ISN | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | SCHWARZBECK | 2017 | NTFM 8158 ISN CAT6 | 156 | - | 3F-Eq. | O | 사용
SUW-R0125 | N/A | Measuring Tape | EMC | 비대상 | N/A | N/A | N/A | N/A | KOMELON | 2017 | Measuring Tape30 | None | - | 1F-EMC | X | 사용
SUW-R0126 | N/A | EMI Test Receiver | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | R&S | 2017 | ESW44 | 101590 | 9 kHz to 44 GHz | RS/RE | O | 사용 | RF-3챔버
SUW-R0127 | N/A | Telecom Surge Module | EMC | 외부교정 | 2024-07-24 | HCT | 12 | 2025-07-24 | EM Test | 2019 | TSurge7 | 105143 | UP to 7 kV | 3F-EMC | O | 사용
SUW-R0128 | N/A | Data Line Coupling / Decoupling Network | EMC | 외부교정 | 2024-07-24 | HCT | 12 | 2025-07-24 | EM Test | 2019 | DCD 5 st-8-1 | 1003140 | UP to 5 kV | 3F-EMC | O | 사용
SUW-R0129 | N/A | Sound Calibrator | EMC | 외부교정 | 2024-07-24 | HCT | 12 | 2025-07-24 | Bruel & Kjaer | 2019 | 4231 | 3022030 | 94 & 114 SPL//1000 Hz | 1F-EMC | O | 사용
SUW-R0130 | N/A | Pressure-Field 1/2" Microphone | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | Bruel & Kjaer | 2019 | 4192 | 3074177 | - | 1F-EMC | O | 사용
SUW-R0131 | N/A | Amplifier | EMC | 외부교정 | 2024-08-01 | HCT | 12 | 2025-08-01 | Bruel & Kjaer | 2019 | 2690 | 3009345 | - | 1F-EMC | O | 사용
SUW-R0132 | N/A | Audio Analyzer | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | R&S | 2019 | UPV | 104454 | - | 1F-EMC | O | 사용
SUW-R0133 | N/A | Power AMP | EMC | 자체점검 | N/A | N/A | N/A | N/A | R&S | 2019 | BBA150 | 103257 | - | 1F-EMC | O | 사용
SUW-R0134 | N/A | Attenuater | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | Bird | 2019 | 150-A-FFN-06 | 1831 | 6 dB attenuator | 1F-EMC | O | 사용
SUW-R0135 | N/A | Attenuater | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | Bird | 2019 | 150-A-FFN-20 | 1832 | 20 dB attenuator | 1F-EMC | O | 사용
SUW-R0137 | N/A | DC power supply | EMC | 자체점검 | N/A | N/A | N/A | N/A | SM techno | 2019 | SDP 30-5D | 305DSE076 | UP to DC 30 V // UP to 5 A | 3F-Eq. | O | 사용
SUW-R0138 | N/A | DC power supply | EMC | 자체점검 | N/A | N/A | N/A | N/A | SM techno | 2019 | SDP 30-5D | 305DSE075 | UP to DC 30 V // UP to 5 A | 3F-Eq. | O | 사용
SUW-R0140 | N/A | Mouth simulator | EMC | 자체점검 | N/A | N/A | N/A | N/A | Bruel & Kjaer | 2019 | 4227 | 3176441 | - | 1F-EMC | O | 사용
SUW-R0141 | N/A | EMI Test Receiver | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | R&S | 2019 | ESW44 | 101848 | UP to 44 GHz | 10m-CH | O | 사용
SUW-R0142 | N/A | EMI Test Receiver | EMC | 외부교정 | 2024-07-22 | HCT | 12 | 2025-07-22 | R&S | 2019 | ESW8 | 101227 | UP to 8 GHz | 10m-CH | O | 사용
SUW-R0143 | N/A | EMI Test Receiver | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | R&S | 2019 | ESR3 | 102592 | UP to 3 GHz | 3F-EMC | O | 사용
SUW-R0144 | N/A | Two-Line V-Network | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | R&S | 2019 | ENV216 | 102479 | UP to 16 A | 3F-EMC | O | 사용
SUW-R0145 | N/A | Two-Line V-Network | EMC | 외부교정 | 2024-07-26 | HCT | 12 | 2025-07-26 | R&S | 2019 | ENV216 | 102478 | UP to 16 A | 3F-EMC | O | 사용
SUW-R0146 | N/A | Four-Line V-Network | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | R&S | 2019 | ENV4200 | 100485 | UP to 200A | 10m-CH | O | 사용
SUW-R0147 | N/A | Four-Line V-Network | EMC | 외부교정 | 2024-07-26 | HCT | 12 | 2025-07-26 | R&S | 2019 | ENV4200 | 100486 | UP to 200A | 10m-CH | O | 사용
SUW-R0148 | N/A | 8-Wire ISN | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | R&S | 2019 | ENY81 | 100363 | Cat 5 | 3F-EMC | O | 사용
SUW-R0150 | N/A | Absorbing Clamp | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | R&S | 2019 | MDS21 | 100931 | with 6 dB attenuator | 3F-EMC | O | 사용
SUW-R0151 | N/A | Cable Guide Rail | EMC | 자체점검 | N/A | N/A | N/A | N/A | Maturo GmbH | 2019 | CGR5.4 | 10033 | Guid Rail for DP | 3F-EMC | X | 사용
SUW-R0152 | N/A | Current Probe | EMC | 외부교정 | 2024-07-24 | HCT | 12 | 2025-07-24 | R&S | 2019 | EZ-17 | 1L733 | - | 3F-EMC | O | 사용
SUW-R0153 | N/A | Open Switch and Control Platform | EMC | 자체점검 | N/A | N/A | N/A | N/A | R&S | 2019 | OSP220 | 101456 | - | 10m-CH | X | 사용
SUW-R0154 | N/A | Open Switch and Control Platform | EMC | 자체점검 | N/A | N/A | N/A | N/A | R&S | 2019 | OSP220 | 101437 | - | 3F-EMC | X | 사용
SUW-R0155 | N/A | System Controller Interface | EMC | 자체점검 | N/A | N/A | N/A | N/A | R&S | 2019 | SCI-200 | S20020030 | - | 10m-CH | X | 사용
SUW-R0157 | N/A | Pressure-Field 1/2" Microphone | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | Bruel & Kjaer | 2019 | 4192 | 3190932 | - | 3F-Eq. | X | 사용
SUW-R0159 | N/A | Probe microphone | EMC | 자체점검 | N/A | N/A | N/A | N/A | Bruel & Kjaer | 2019 | 4182 | 3138352 | - | 1F-EMC | X | 사용
SUW-R0160 | N/A | Probe microphone | EMC | 자체점검 | N/A | N/A | N/A | N/A | Bruel & Kjaer | 2019 | 4182 | 3186500 | - | 3F-Eq. | X | 사용
SUW-R0161 | N/A | Triple-Loop Antenna | EMC | 자체점검 | N/A | N/A | N/A | N/A | R&S | 2019 | HM020E | 101124 | T-Loop Antenna | 10m-CH | X | 사용
SUW-R0162 | N/A | Calibration Dipole Antenna for Triple-Loop | EMC | 자체점검 | N/A | N/A | N/A | N/A | R&S | 2019 | HM020Z3 | 100109 | Dipole Antenna for T-Loop | 10m-CH | X | 사용
SUW-R0163 | N/A | Active Loop Antenna | EMC | 외부교정 | 2023-07-25 | HCT | 24 | 2025-07-25 | R&S | 2019 | HFH2-Z2E | 100900 | Active Loop Antenna UP to 30 MHz | 10m-CH | O | 사용
SUW-R0164 | N/A | Bias Unit | EMC | 외부교정 | 2023-07-25 | HCT | 24 | 2025-07-25 | R&S | 2019 | IN600 | 100974 | for Active Loop Antenna | 10m-CH | O | 사용
SUW-R0165 | N/A | TRILOG Broadband Antenna | EMC | 외부교정 | 2024-07-30 | HCT | 24 | 2026-07-30 | Schwarzbeck | 2019 | VULB9163 | 1242 | 30 MHz up to 3 GHz with attenuator | 10m-CH | O | 사용
SUW-R0166 | N/A | TRILOG Broadband Antenna | EMC | 외부교정 | 2023-08-02 | HCT | 24 | 2025-08-02 | Schwarzbeck | 2019 | VULB9163 | 1241 | 30 MHz up to 3 GHz with attenuator | 10m-CH | O | 사용
SUW-R0167 | N/A | Double-Ridged Guide Antenna | EMC | 외부교정 | 2023-07-25 | HCT | 24 | 2025-07-25 | ETS Lindgren | 2019 | 3117 | 227048 | 1 GHz up to 18 GHz | 10m-CH | O | 사용
SUW-R0168 | N/A | Double-Ridged Guide Antenna | EMC | 외부교정 | 2024-07-25 | HCT | 24 | 2026-07-25 | ETS Lindgren | 2019 | 3117 | 227047 | 1 GHz up to 18 GHz | 10m-CH | O | 사용
SUW-R0170 | N/A | Horn Antenna | EMC | 외부교정 | 2023-07-25 | HCT | 24 | 2025-07-25 | Steatite | 2019 | QMS-00880 | 20875 | 18 GHz up to 40 GHz | 10m-CH | O | 사용
SUW-R0172 | N/A | Pre-Amplifier | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | R&S | 2019 | SCU08F2 | 100725 | 0.1 ~ 8 GHz // gain 40 dB | 10m-CH | O | 사용
SUW-R0175 | N/A | Pre-Amplifier | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | R&S | 2019 | SCU-40A | 101207 | 18 ~ 40 GHz | 10m-CH | O | 사용
SUW-R0183 | N/A | Matching Pad | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | Huber-Suhner | 2019 | 6001.00.0001 | 1001665418 | - | 3F-Eq. | O | 사용
SUW-R0184 | N/A | Matching Pad | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | R&S | 2019 | RAM 358.5414.02 | 102237 | - | 3F-Eq. | O | 사용
SUW-R0186 | N/A | Matching Pad | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | R&S | 2019 | RAM 358.5414.02 | 102242 | - | 3F-Eq. | O | 사용
SUW-R0187 | N/A | Matching Pad | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | R&S | 2019 | RAM 358.5414.02 | 102243 | - | 3F-Eq. | O | 사용
SUW-R0191 | N/A | Click Analyser | EMC | 외부교정 | 2024-07-26 | HCT | 12 | 2025-07-26 | AFJ | 2019 | DDA55 | 14041913130 | - | 3F-EMC | O | 사용
SUW-R0192 | N/A | Switching Boxes | EMC | 외부교정 | 2024-07-26 | HCT | 12 | 2025-07-26 | AFJ | 2019 | SW04 | SW041920116 | - | 3F-EMC | O | 사용
SUW-R0193 | N/A | MPEG Portable Generator | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | MFLO | 2019 | MHG-200 | E17MH-G2005 | - | 3F-EMC | O | 사용
SUW-R0194 | N/A | Pre-Amplifier | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | R&S | 2019 | SCU18F | 100726 | 1 ~ 18 GHz // gain 40 dB | 10m-CH | O | 사용
SUW-R0195 | N/A | Digital Clamp Meter | EMC | 외부교정 | 2024-07-24 | HCT | 12 | 2025-07-24 | Tae Kwang Electornics co. | 2019 | TK-1000A | 180030500 | - | 3F-Eq. | O | 사용
SUW-R0196 | N/A | Light meter | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | TES | 2019 | 1335 | 190304936K | - | 3F-Eq. | O | 사용
SUW-R0199 | N/A | Common Mode Absorption Device(CMAD) | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | Schwarzbeck | 2019 | CMAD 1614 | 00289 | - | 3F-Eq. | O | 사용
SUW-R0200 | N/A | Common Mode Absorption Device(CMAD) | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | Schwarzbeck | 2019 | CMAD 1614 | 00291 | - | 3F-Eq. | O | 사용
SUW-R0202 | N/A | Common Mode Absorption Device(CMAD) | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | Schwarzbeck | 2019 | CMAD 1614 | 00300 | - | 3F-Eq. | O | 사용
SUW-R0203 | N/A | Calibration Fixtore for CMAD | EMC | 자체점검 | N/A | N/A | N/A | N/A | Schwarzbeck | 2019 | CAL CMAD 1614 | 00109 | Calibration fixture for CMAD | 3F-Eq. | X | 사용
SUW-R0205 | N/A | Calibration Adapter for CVP | EMC | 자체점검 | N/A | N/A | N/A | N/A | Schwarzbeck | 2019 | CAL 9222 B | 01086 | Calibration fixture for CVP | 3F-Eq. | X | 사용
SUW-R0206 | N/A | Attenuator | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | QMTL | 2020 | 150W1GNN-06 | N/A | - | 3F-Eq. | O | 사용
SUW-R0207 | N/A | Attenuator | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | INMET | 2020 | 6N5W-6dB | N/A | - | 10m-CH | O | 사용
SUW-R0208 | N/A | Attenuator | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | INMET | 2020 | 6N5W-6dB | N/A | - | 10m-CH | O | 사용
SUW-R0211 | N/A | Temp and Humidity recorder | EMC | 외부교정 | 2024-07-24 | HCT | 12 | 2025-07-24 | LUTRON | 2020 | MHB-382SD | AJ.84563 | 50℃, 90% | 10m-CH | O | 사용
SUW-R0212 | N/A | CDN [ST08] | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | TESEQ INC. | 2020 | ST08 | 58671 |  | 3F-Eq. | O | 사용
SUW-R0213 | N/A | High Power Voltage Probe | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | Schwarzbeck | 2020 | TK 9421 | 9421-309 |  | 3F-Eq. | O | 사용
SUW-R0214 | N/A | SFC-U | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | R&S | 2020 | SFC-U USB COMPACT MODULATOR | 101358 |  | 3F-Eq. | O | 사용
SUW-R0215 | N/A | Turn Table | EMC | 자체점검 | N/A | N/A | N/A | N/A | Innco systems GmbH | 2019 | N/A | N/A |  | 10m-CH | X | 사용
SUW-R0216 | N/A | Antenna Mast | EMC | 자체점검 | N/A | N/A | N/A | N/A | Innco systems GmbH | 2019 | N/A | N/A |  | 10m-CH | X | 사용
SUW-R0217 | N/A | Antenna Mast | EMC | 자체점검 | N/A | N/A | N/A | N/A | Innco systems GmbH | 2019 | N/A | N/A |  | 10m-CH | X | 사용
SUW-R0218 | N/A | Controller | EMC | 자체점검 | N/A | N/A | N/A | N/A | Innco systems GmbH | 2019 | CO3000 | CO3000/1158/ 45470119/P |  | 10m-CH | X | 사용
SUW-R0219 | N/A | Sound Acoustic Tester | EMC | 외부교정 | 2024-07-24 | HCT | 12 | 2025-07-24 | TESTEK Co.,Ltd | 2021 | TST-1000 | 200110-A |  | 3F-EMC | X | 사용
SUW-R0221 | N/A | Impedance Box | EMC | 자체점검 | N/A | N/A | N/A | N/A | TESTEK Co.,Ltd | 2021 | TIB-R1 | 170016-R |  | 3F-EMC | X | 사용
SUW-R0222 | N/A | Microphone | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | BSWA | 2021 | MP201 | 580305 |  | 3F-EMC | X | 사용
SUW-R0223 | N/A | Microphone | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | BSWA | 2021 | MP201 | 580461 |  | 3F-EMC | X | 사용
SUW-R0224 | N/A | Low Noise Amplifier | EMC | 자체점검 | N/A | N/A | N/A | N/A | TESTEK Co.,Ltd | 2021 | TK-PA 005H | 200159-L |  | 3F-EMC | X | 사용
SUW-R0225 | N/A | CDNE M2 | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | SCHWARZBECK | 2021 | CDNE M2 | 174 |  | 10m-CH | X | 사용
SUW-R0226 | N/A | CDNE M3 | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | SCHWARZBECK | 2021 | CDNE M3 | 174 |  | 10m-CH | X | 사용
SUW-R0228 | N/A | ELECTRONIC LOAD | EMC | 자체점검 | N/A | N/A | N/A | N/A | KIKUSUI | 2021 | PLZ334W | AU001529 |  | 3F-EMC | X | 사용
SUW-R0229 | N/A | ELECTRONIC LOAD | EMC | 자체점검 | N/A | N/A | N/A | N/A | KIKUSUI | 2021 | PLZ334W | AU001530 |  | 3F-EMC | X | 사용
SUW-R0230 | N/A | CDN T8-230 | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | TESEQ INC. | 2021 | CDN T8-230 | 60335 |  | 3F-EMC | X | 사용
SUW-R0232 | N/A | DC Load | EMC | 자체점검 | N/A | N/A | N/A | N/A | KIKUSUI | 2021 | PLZ1205W | BT002257 |  | 3F-EMC | X | 사용
SUW-R0233 | N/A | Signal Generator | EMC | 외부교정 | 2024-07-25 | HCT | 12 | 2025-07-25 | R&S | 2021 | SMB100B | 1422.1000K02-103318-Rd |  | 3F-EMC | O | 사용
SUW-R0234 | N/A | Power Amplifier | EMC | 자체점검 | N/A | N/A | N/A | N/A | BONN Elektronik | 2021 | B5A 0110-100 | 2113623 |  | 3F-EMC | O | 사용
SUW-R0235 | N/A | FESP 5132 | EMC | 자체점검 | N/A | N/A | N/A | N/A | SCHWARZBECK | 2021 | FESP 5132 | 00482 |  | 3F-EMC | O | 사용
SUW-R0236 | N/A | Loop Sensor/Antenna | EMC | 외부교정 | 2023-07-25 | HCT | 24 | 2025-07-25 | SCHWARZBECK | 2021 | FESP 5134-40 | 5134-40-479 |  | 3F-EMC | O | 사용
SUW-R0237 | N/A | Circular transmitting loop antenna | EMC | 자체점검 | N/A | N/A | N/A | N/A | SCHWARZBECK | 2021 | FESP 5164 | 00097 |  | 3F-EMC | O | 사용
SUW-R0238 | N/A | Monitor loop | EMC | 외부교정 | 2023-07-27 | HCT | 24 | 2025-07-27 | SCHWARZBECK | 2021 | FESP 5134-1 | 00112 |  | 3F-EMC | O | 사용
SUW-R0239 | N/A | Compensation network | EMC | 자체점검 | N/A | N/A | N/A | N/A | SCHWARZBECK | 2021 | NFCN 1356 | 00053 |  | 3F-EMC | O | 사용
SUW-R0240 | N/A | DMM | EMC | 자체점검 | N/A | N/A | N/A | N/A | SCHWARZBECK | 2021 | 177 | 57020213 |  | 3F-EMC | X | 사용
SUW-R0241 | N/A | 250 WATTS Load | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | WEINSCHEL | 2022 | 1433-3 | TC460 |  | 3F-EMC | X | 사용
SUW-R0242 | N/A | 300 WATTS Load | EMC | 외부교정 | 2024-07-23 | HCT | 12 | 2025-07-23 | BIRD | 2022 | 300-T-FN | 1547 |  | 3F-EMC | X | 사용
SUW-R0244 | N/A | SPLITTER | EMC | 외부교정 | 2024-07-24 | HCT | 12 | 2025-07-24 | Mini-Circuits | 2023 | ZFRSC-42-S+ | S UU90901305 | DC-4200 MHz | 3F-EMC | O | 사용
UL-QP-18-01(01)
Formulas:
차기교정일 = DATE(YEAR([최종교정일])+1,MONTH([최종교정일]),DAY([최종교정일]))
Note on M15: [스레드 댓글] 사용 중인 버전의 Excel에서 이 스레드 댓글을 읽을 수 있지만 파일을 이후 버전의 Excel에서 열면 편집 내용이 모두 제거됩니다. 자세한 정보: https://go.microsoft.com/fwlink/?linkid=870924. 댓글: 교정필증에 기기번호 틀림(P16271812)

## SAR list (hidden)
번호 | 장비명 | 제조사 | 모델명 | 일련번호 | 관리번호 | 교정 | 최종교정일 | 교정주기 | 차기교정일 | 장비사양 | 설치장소
1 | Signal Generator | AGILENT | N5181A | MY50145882 | SUW-S0001 | HCT | 2015-08-18 | 12 | 2016-08-18 | 100KHz ~ 6GHz | 2F- SAR
2 | Attenuator | AGILENT | 8491B/003 | MY39269292 | SUW-S0002 | HCT | 2015-08-18 | 12 | 2016-08-18 | 3dB | 2F- SAR
3 | Attenuator | AGILENT | 8491B/010 | MY39269315 | SUW-S0003 | HCT | 2015-08-18 | 12 | 2016-08-18 | 10dB | 2F- SAR
4 | Attenuator | AGILENT | 8491B/020 | MY39269298 | SUW-S0004 | HCT | 2015-08-18 | 12 | 2016-08-18 | 20dB | 2F- SAR
5 | Amplifier | EXODUS | AMP2027 | 1410025- AMP2027-10003 | SUW-S0005 | HCT | 2015-08-18 | 12 | 2016-08-18 | 100M~6GHz | 2F- SAR
6 | Low Pass Filter | MICROLAB | LA-15N | 03943 | SUW-S0006 | HCT | 2015-08-18 | 12 | 2016-08-18 | ~1.5GHz | 2F- SAR
7 | Low Pass Filter | FILTRON | L14012FL | 1410003S | SUW-S0007 | HCT | 2015-08-18 | 12 | 2016-08-18 | ~3GHz | 2F- SAR
8 | Low Pass Filter | MICROLAB | LA-60N | 03942 | SUW-S0008 | HCT | 2015-08-18 | 12 | 2016-08-18 | ~6GHz | 2F- SAR
9 | Directional Coupler | AGILENT | 778D | MY52180432 | SUW-S0009 | HCT | 2015-08-18 | 12 | 2016-08-18 | 2~18GHz | 2F- SAR
10 | Directional Coupler | AGILENT | 772D | MY52180193 | SUW-S0010 | HCT | 2015-08-18 | 12 | 2016-08-18 | 100M~2GHz | 2F- SAR
11 | Wideband Radio Communications Tester | ROHDE & SCHWARZ | CMW500 | 150313 | SUW-S0011 | HCT | 2015-08-18 | 12 | 2016-08-18 | GSM,CDMA,WCDMA,LTE | 2F- SAR
12 | Wideband Radio Communications Tester | ROHDE & SCHWARZ | CMW500 | 150314 | SUW-S0012 | HCT | 2015-08-18 | 12 | 2016-08-18 | GSM,CDMA,WCDMA,LTE | 2F- SAR
13 | Power Sensor | AGILENT | U2000A | MY54260010 | SUW-S0013 | HCT | 2015-08-18 | 12 | 2016-08-18 | 10MHz ~ 18GHz | 2F- SAR
14 | Power Sensor | AGILENT | U2000A | MY54260007 | SUW-S0014 | HCT | 2015-08-18 | 12 | 2016-08-18 | 10MHz ~ 18GHz | 2F- SAR
15 | Dipole Antenna | SPEAG | D750V3 | 1122 | SUW-S0015 | SPEAG | 2015-08-17 | 12 | 2016-08-17 | Head & Body 750 MHz | 2F- SAR
16 | Dipole Antenna | SPEAG | D835V2 | 4d174 | SUW-S0016 | SPEAG | 2015-09-30 | 12 | 2016-09-30 | Head & Body 835 MHz | 2F- SAR
17 | Dipole Antenna | SPEAG | D1750V2 | 1125 | SUW-S0017 | SPEAG | 2015-08-20 | 12 | 2016-08-20 | Head & Body 1750 MHz | 2F- SAR
18 | Dipole Antenna | SPEAG | D1900V2 | 5d190 | SUW-S0018 | SPEAG | 2015-09-29 | 12 | 2016-09-29 | Head & Body 1900 MHz | 2F- SAR
19 | Dipole Antenna | SPEAG | D1950V3 | 1157 | SUW-S0019 | SPEAG | 2015-09-29 | 12 | 2016-09-29 | Head & Body 1950 MHz | 2F- SAR
20 | Dipole Antenna | SPEAG | D2100V2 | 1037 | SUW-S0020 | SPEAG | 2015-09-29 | 12 | 2016-09-29 | Head & Body 2100 MHz | 2F- SAR
21 | Dipole Antenna | SPEAG | D2450V2 | 939 | SUW-S0021 | SPEAG | 2015-09-28 | 12 | 2016-09-28 | Head & Body 2450 MHz | 2F- SAR
22 | Dipole Antenna | SPEAG | D5GHzV2 | 1184 | SUW-S0022 | SPEAG | 2015-08-26 | 12 | 2016-08-26 | Head & Body 5 GHz | 2F- SAR
23 | NETWORK ANALYZER | AGILENT | E5071C | MY46522054 | SUW-S0023 | HCT | 2015-08-18 | 12 | 2016-08-18 | 9KHz~6.5GHz | 2F- SAR
24 | DIELECTRIC PROBES | SPEAG | DAK-3.5 Probe | 1196 | SUW-S0024 | SPEAG | 2015-08-04 | 12 | 2016-08-04 | 200MHz~20GHz | 2F- SAR
25 | Thermometer | LKM | DTM3000 | 3424 | SUW-S0025 | HCT | 2015-08-19 | 12 | 2016-08-19 | −200 ~ 820°C | 2F- SAR
26 | Shield Room | EME | N/A | N/A | SUW-S0026 | N/A | N/A | N/A | N/A | 7000×5000×3000 (mm) | 2F- SAR
27 | Shield Room | EME | N/A | N/A | SUW-S0027 | N/A | N/A | N/A | N/A | 7000×5000×3000 (mm) | 2F- SAR
28 | Shield Room | EME | N/A | N/A | SUW-S0028 | N/A | N/A | N/A | N/A | 7000×5000×3000 (mm) | 2F- SAR
29 | Data Acquisition System | SPEAG | DAE4 | 1494 | SUW-S0029 | SPEAG | 2015-11-11 | 12 | 2016-11-11 | -100 TO +300Mv | 2F- SAR
30 | Data Acquisition System | SPEAG | DAE4 | 1447 | SUW-S0030 | SPEAG | 2015-09-23 | 12 | 2016-09-23 | -100 TO +300Mv | 2F- SAR
31 | E-field probe | SPEAG | EX3DV4 | 7313 | SUW-S0031 | SPEAG | 2015-07-23 | 12 | 2016-07-23 | 10MHz to 6GHz | 2F- SAR
32 | E-field probe | SPEAG | EX3DV4 | 7314 | SUW-S0032 | SPEAG | 2015-09-25 | 12 | 2016-09-25 | 10MHz to 6GHz | 2F- SAR
33 | Temp and Humidity recorder | LUTRON | MHB-382SD | AH.50215 | SUW-S0033 | HCT | 2015-08-19 | 12 | 2016-08-19 | 50℃, 90% | 2F- SAR
34 | Temp and Humidity recorder | LUTRON | MHB-382SD | AH.50213 | SUW-S0034 | HCT | 2015-08-24 | 12 | 2016-08-24 | 50℃, 90% | 2F- SAR
35 | Digital Multimeter | FLUKE | 17B | 27770592WS | SUW-S0035 | HCT | 2015-08-18 | 12 | 2016-08-18 | 1000V | 2F- SAR
36 | Digital Multimeter | FLUKE | 17B | 28050366WS | SUW-S0036 | HCT | 2015-08-18 | 12 | 2016-08-18 | 1000V | 2F- SAR
37 | Dasy52 | SPEAG | Dasy52 SAR System | F14/5T5ZB1/A/01 | SUW-S0037 | N/A | N/A | N/A | N/A |  | 2F- SAR
38 | Dasy52 | SPEAG | Dasy52 SAR System | F14/5VR2C1/A/01 | SUW-S0038 | N/A | N/A | N/A | N/A |  | 2F- SAR
39 | Dipole Antenna | SPEAG | D835V2 | 4d194 | SUW-S0039 | SPEAG | 2015-09-17 | 12 | 2016-09-17 | Head & Body 835 MHz | 2F- SAR
40 | Dipole Antenna | SPEAG | D1800V2 | 2d204 | SUW-S0040 | SPEAG | 2015-01-09 | 12 | 2016-01-09 | Head & Body 1800 MHz | 2F- SAR
41 | Dipole Antenna | SPEAG | D1900V2 | 5d199 | SUW-S0041 | SPEAG | 2015-02-06 | 12 | 2016-02-06 | Head & Body 1900 MHz | 2F- SAR
42 | Dipole Antenna | SPEAG | D2450V2 | 960 | SUW-S0042 | SPEAG | 2015-02-05 | 12 | 2016-02-05 | Head & Body 2450 MHz | 2F- SAR
43 | Dipole Antenna | SPEAG | D2600V2 | 1097 | SUW-S0043 | SPEAG | 2015-11-18 | 12 | 2016-11-18 | Head & Body 2600 MHz | 2F- SAR
44 | Dipole Antenna | SPEAG | D5GHzV2 | 1209 | SUW-S0044 | SPEAG | 2015-02-10 | 12 | 2016-02-10 | Head & Body 5GHz | 2F- SAR
45 | Data Acquisition System | SPEAG | DAE4 | 1468 | SUW-S0045 | SPEAG | 2015-09-15 | 12 | 2016-09-15 | -100 TO +300Mv | 2F- SAR
46 | E-field probe | SPEAG | EX3DV4 | 7376 | SUW-S0046 | SPEAG | 2015-09-02 | 12 | 2016-09-02 | 10MHz to 6GHz | 2F- SAR
47 | E-field probe | SPEAG | EX3DV4 | 7330 | SUW-S0047 | SPEAG | 2015-02-12 | 12 | 2016-02-12 | 10MHz to 6GHz | 2F- SAR
48 | Dasy52 | SPEAG | Dasy52 SAR System | F14/5W9FA1/A/01 | SUW-S0048 | N/A | N/A | N/A | N/A |  | 2F- SAR
49 | Temp and Humidity recorder | LUTRON | MHB-382SD | AH.91478 | SUW-S0049 | HCT | 2015-08-12 | 12 | 2016-08-12 | 50℃, 90% | 2F- SAR
50 | Temp and Humidity recorder | LUTRON | MHB-382SD | AH.91463 | SUW-S0050 | HCT | 2015-08-12 | 12 | 2016-08-12 | 50℃, 90% | 2F- SAR
51 | Wireless communications test set | AGILENT | E5515C | MY50260520 | SUW-S0051 | HCT | 2015-10-05 | 12 | 2016-10-05 | GSM,CDMA,WCDMA | 2F- SAR