## 시험설비 관리대장
(MEMCRF팀) 시험설비 관리대장 | [14 empty] | 최종 업데이트 일자 : 2025. 02. 28
관리번호 | 자산번호 (번호 or N/A) | 장비명 | 관리방법 (외부교정/자체점검/비대상) | 최종교정일 | 교정기관 | 교정주기 (개월) | 차기교정일 | 제조사 | 구입년도 | 모델명 | 일련번호 | 장비사양 | 위치 | 중간점검 대상 (O/X) | 가용 여부 (사용/고장/여분)
SUW-E0001 | 125-540 | Receiver | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | R&S | 2014 | ESU40 | 100439 | 20Hz - 40GHz | RE1 | O | 사용
SUW-E0002 | N/A | Switch Driver | 비대상 | N/A | N/A | N/A | N/A | HP | 2014 | 11713A | 2508A078109 | - | RE1 | X | 사용
SUW-E0003 | 125-583 | Controller | 비대상 | N/A | N/A | N/A | N/A | INNCO | 2014 | CO3000-4P | CO3000/797/33770614/L | - | RE1 | X | 사용
SUW-E0004 | 125-504 | Bilog Antenna | 외부교정 | 2024-07-30 | HCT | 24 | 2026-07-30 | SCHWARZBECK | 2014 | VULB 9163 | 750 | 30 ~ 1000MHZ | RE1 | O | 사용
SUW-E0005 | 125-502 | Horn Antenna | 외부교정 | 2024-07-17 | OHTAMA | 24 | 2026-07-17 | ETS LINDGREN | 2014 | 3115 | 00167211 | 750MHz to 18GHz | RE1 | O | 사용
SUW-E0006 | 125-505 | Horn Antenna | 외부교정 | 2024-07-23 | HCT | 24 | 2026-07-23 | ETS LINDGREN | 2014 | 3116C | 00166155 | 18GHz to 40GHz, 35dB | RE1 | O | 사용
SUW-E0007 | 125-556 | Pre-Amplifier | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | SONOMA | 2014 | 310N | 341282 | 9kHz to 1GHz, 32dB | RE1 | O | 사용
SUW-E0008 | N/A | Turntable | 비대상 | N/A | N/A | N/A | N/A | INNCO | 2014 | DS2000-1t | - | - | RE1 | X | 사용
SUW-E0009 | N/A | EUT Table | 비대상 | N/A | N/A | N/A | N/A | INNCO | 2014 | Styrofoam Table | - | - | RE1 | X | 사용
SUW-E0010 | N/A | Antenna Master | 비대상 | N/A | N/A | N/A | N/A | INNCO | 2014 | MA4000-XPET | - | - | RE1 | X | 사용
SUW-E0011 | 125-585 | Antenna Master | 비대상 | N/A | N/A | N/A | N/A | INNCO | 2014 | MA4000-EP | - | - | RE1 | X | 사용
SUW-E0013 | N/A | Filter | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | MICRO-TRONICS | 2014 | HPM17543 | 015 | HPF 3GHz | RE2 | O | 사용
SUW-E0014 | N/A | Filter | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | MICRO-TRONICS | 2014 | HPS17542 | 016 | HPF 6GHz | RE2 | O | 사용
SUW-E0015 | N/A | Filter | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | MICRO-TRONICS | 2014 | LPS17541 | 015 | LPF 5GHz | RE2 | O | 사용
SUW-E0016 | N/A | Tri-pod | 비대상 | N/A | N/A | N/A | N/A | R&S | 2014 | HFU-Z | - | Loop Antenna Tripod | RE1 | O | 사용
SUW-E0018 | 125-515 | Bluetooth Tester | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | TESCOM | 2014 | TC-3000C | 3000C000546 | BT,BLE | RF1 | O | 사용
SUW-E0021 | 125-503 | Bilog Antenna | 외부교정 | 2024-08-12 | HCT | 24 | 2026-08-12 | SCHWARZBECK | 2014 | VULB 9163 | 749 | 30 ~ 3000MHZ | RE2 | O | 사용
SUW-E0022 | 125-501 | Pre-Amplifier | 외부교정 | 2025-07-28 | HCT | 12 | 2026-07-28 | ETS LINDGREN | 2014 | 3115-PA | 00167475 | 750MHz to 18GHz | RE1 | O | 사용
SUW-E0023 | 125-500 | Pre-Amplifier | 외부교정 | 2025-07-28 | HCT | 12 | 2026-07-28 | ETS LINDGREN | 2014 | 3116C-PA | 00168841 | 18GHz to 40GHz, 35dB | RE1 | O | 사용
SUW-E0024 | N/A | Temp and Humidity recorder | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | LUTRON | 2014 | MHB-382SD | AH.91471 | 10~30℃, 90% | RE1 | O | 사용
SUW-E0025 | N/A | Temp and Humidity recorder | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | LUTRON | 2014 | MHB-382SD | AH.91469 | 10~30℃, 90% | RE2 | O | 사용
SUW-E0026 | 125-496 | 3m Chamber | 비대상 | N/A | N/A | N/A | N/A | EME | 2014 | 3m_SAC | - | 30MHz to 40GHz | RE1 | X | 사용
SUW-E0027 | 125-565 | Comb Generator | 자체점검 | N/A | N/A | N/A | N/A | Comb Generator | 2014 | CGC-255 | 311243 | 50kHz to 400MHz | AC | X | 사용
SUW-E0028 | 331022 | Comb Generator | 자체점검 | N/A | N/A | N/A | N/A | Comb Generator | 2014 | CGO-5100B | 331022 | 1GHz to 18GHz | RE3 | X | 사용
SUW-E0029 | 125-499 | Dipole Antenna | 외부교정 | 2025-01-08 | HCT | 24 | 2027-01-08 | ETS LINDGREN | 2014 | 3121D DB-1 | 00169611 | 30MHz to 60MHz | RE1 | O | 사용
SUW-E0030 | 125-499 | Dipole Antenna | 외부교정 | 2025-01-08 | HCT | 24 | 2027-01-08 | ETS LINDGREN | 2014 | 3121D DB-2 | 00168882 | 60MHz to 140MHz | RE1 | O | 사용
SUW-E0031 | 125-499 | Dipole Antenna | 외부교정 | 2025-01-08 | HCT | 24 | 2027-01-08 | ETS LINDGREN | 2014 | 3121D DB-3 | 00167005 | 140MHz to 400MHz | RE1 | O | 사용 | `
SUW-E0032 | 125-499 | Dipole Antenna | 외부교정 | 2025-01-08 | HCT | 24 | 2027-01-08 | ETS LINDGREN | 2014 | 3121D DB-4 | 00164753 | 400MHz to 1GHz | RE1 | O | 사용
SUW-E0033 | 125-541 | RECEIVER, EMI | 외부교정 | 2025-11-11 | HCT | 12 | 2026-11-11 | R&S | 2014 | ESR 3 | 101832 | 9kHz to 7GHz | AC | O | 사용
SUW-E0034 | 125-542 | PULSE LIMITER | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | R&S | 2014 | ESH3-Z2 | 101984 | DC to 30MHz | AC | O | 사용
SUW-E0035 | 125-545 | LISN | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | R&S | 2014 | ENV216 | 101836 | 16A, 9kHz to 30MHz | AC | O | 사용
SUW-E0036 | 125-545 | LISN | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | R&S | 2014 | ENV216 | 101837 | 16A, 9kHz to 30MHz | AC | O | 사용
SUW-E0037 | N/A | EUT Table | 비대상 | N/A | N/A | N/A | N/A | EME | 2014 | Wood | - | - | AC | X | 사용
SUW-E0038 | 125-506 | CHAMBER | 비대상 | N/A | N/A | N/A | N/A | EME | 2014 | Shield Room | - | - | AC | X | 사용
SUW-E0039 | 125-566 | Comb Generator | 자체점검 | N/A | N/A | N/A | N/A | COM-POWER | 2014 | CGO-515 | 291156 | 1MHz to 1.5GHz | RE1 | X | 사용
SUW-E0041 | 125-536 | Power Sensor | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | AGILENT | 2014 | U2000A | MY54270007 | 18GHz, Avg, Peak | RF1 | O | 사용
SUW-E0042 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | PASTERNACK | 2014 | PE7087-10 | A001 | 26GHz, 2Watt6GHz, Avg | RE1 | O | 사용
SUW-E0043 | 125-524 | Spectrum Analyzer | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | AGILENT | 2014 | N9030A | MY54170614 | 3Hz to 44GHz | RF1 | O | 사용
SUW-E0045 | N/A | Directional Coupler | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | KRYTAR | 2014 | 1850 | 164428 | 500MHz to 18GHz | RF1 | O | 사용
SUW-E0046 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | PASTERNACK | 2014 | PE7087-10 | A002 | 26GHz, 2Watt | RF1 | O | 사용
SUW-E0047 | N/A | Termination | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | WEINSCHEL | 2014 | M1406A | T01 | 18GHz | RF1 | O | 사용
SUW-E0048 | 125-592 | Power Supply | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | AGILENT | 2014 | E3640A | MY54226395 | 20V, 30W | RF1 | O | 사용
SUW-E0049 | 125-538 | Temperature & Humidity Chamber | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | ESPEC | 2014 | SH-642 | 93001109 | -40℃~ 150℃ | RF1 | O | 사용
SUW-E0050 | 125-539 | Temperature & Humidity Chamber | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | ESPEC | 2014 | PL-1J | 15004769 | -40℃~ 150℃ | RF2 | O | 사용
SUW-E0051 | 125-497 | Signal Generator | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | AGILENT | 2014 | N5182B | MY53051241 | 100KHz ~ 6GHz | RF2 | O | 사용
SUW-E0052 | 125-525 | Spectrum Analyzer | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | AGILENT | 2014 | N9010A | MY54200580 | 10MHz to 7GHz | RF2 | O | 사용
SUW-E0057 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | PASTERNACK | 2014 | PE7087-10 | A004 | 26GHz, 2Watt | RF1 | O | 사용
SUW-E0058 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | PASTERNACK | 2014 | PE7087-10 | A003 | 26GHz, 2Watt | RF1 | O | 사용
SUW-E0059 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | PASTERNACK | 2014 | PE7087-10 | A005 | 26GHz, 2Watt | RF1 | O | 사용
SUW-E0060 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | PASTERNACK | 2014 | PE7087-10 | A009 | 26GHz, 2Watt | RF1 | O | 사용
SUW-E0061 | 125-593 | Step Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | AGILENT | 2014 | 8494B | MY42155315 | DC to 18GHz | RF1 | O | 사용
SUW-E0062 | 125-593 | Step Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | AGILENT | 2014 | 8494B | MY42155316 | DC to 18GHz | RF1 | O | 사용
SUW-E0063 | 125-593 | Step Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | AGILENT | 2014 | 8494B | MY42155321 | DC to 18GHz | RF1 | O | 사용
SUW-E0064 | 125-594 | Step Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | AGILENT | 2014 | 8496B | MY42149775 | DC to 18GHz | RF1 | O | 사용
SUW-E0065 | 125-594 | Step Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | AGILENT | 2014 | 8496B | MY42149778 | DC to 18GHz | RF1 | O | 사용
SUW-E0066 | 125-594 | Step Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | AGILENT | 2014 | 8496B | MY42149783 | DC to 18GHz | RF1 | O | 사용
SUW-E0067 | N/A | Isolator | 자체점검 | N/A | N/A | N/A | N/A | MCLI | 2014 | IS-16 | 23736 | DC to 18GHz | RF1 | X | 사용
SUW-E0068 | N/A | Isolator | 자체점검 | N/A | N/A | N/A | N/A | MCLI | 2014 | IS-16 | 23737 | DC to 18GHz | RF1 | X | 사용
SUW-E0071 | N/A | Access Point | 자체점검 | N/A | N/A | N/A | N/A | CISCO | 2014 | AIR-CAP3702E-A-K9 | FTX182276QX | IEEE 802.11b/g/a/n/ac | RF2 | X | 사용
SUW-E0072 | 125-598 | HORN ANTENNA | 외부교정 | 2024-07-17 | OHTAMA | 24 | 2026-07-17 | ETS LINDGREN | 2014 | 3117 | 00168717 | 750MHz to 18GHz | RE1 | O | 사용
SUW-E0073 | 125-599 | HORN ANTENNA | 외부교정 | 2024-07-17 | OHTAMA | 24 | 2026-07-17 | ETS LINDGREN | 2014 | 3117 | 00168724 | 750MHz to 18GHz | RE2 | O | 사용
SUW-E0074 | N/A | EUT Table | 비대상 | N/A | N/A | N/A | N/A | EME | 2015 | Styrofoam Table | - | - | RE2 | X | 사용
SUW-E0075 | N/A | EUT Table | 비대상 | N/A | N/A | N/A | N/A | EME | 2015 | Styrofoam Table | - | - | RE1 | X | 사용
SUW-E0076 | 125-563 | Step Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | AEROFLEX/WEINSCHEL | 2014 | AF119A-99-34 | 25333 | up to 18GHz | RF1 | O | 사용
SUW-E0077 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | PASTERNACK | 2014 | PE7087-10 | A007 | 26GHz, 2Watt | RF1 | O | 사용
SUW-E0078 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | AEROFLEX/WEINSCHEL | 2014 | 2 | CE9519 | 30dB, 18GHz | RF1 | O | 사용
SUW-E0079 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | AEROFLEX/WEINSCHEL | 2014 | 2 | CE9520 | 30dB, 18GHz | RF1 | O | 사용
SUW-E0080 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | AEROFLEX/WEINSCHEL | 2014 | 2 | CE9521 | 30dB, 18GHz | RF1 | O | 사용
SUW-E0081 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | AEROFLEX/WEINSCHEL | 2014 | 2 | CE9536 | 30dB, 18GHz | RF1 | O | 사용
SUW-E0083 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | PASTERNACK | 2014 | PE7087-10 | A010 | 26GHz, 2Watt | RF1 | O | 사용
SUW-E0084 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | PASTERNACK | 2014 | PE7087-10 | A008 | 26GHz, 2Watt | RE2 | O | 사용
SUW-E0085 | N/A | TERMINATION | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | WEINSCHEL | 2014 | M1406A | T02 | 18GHz | RF1 | O | 사용
SUW-E0086 | N/A | TERMINATION | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | WEINSCHEL | 2014 | M1406A | T03 | 18GHz | RF1 | O | 사용
SUW-E0087 | N/A | TERMINATION | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | WEINSCHEL | 2014 | M1406A | T04 | 18GHz | RF1 | O | 사용
SUW-E0088 | N/A | TERMINATION | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | WEINSCHEL | 2014 | M1406A | T05 | 18GHz | RF1 | O | 사용
SUW-E0090 | N/A | TERMINATION | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | WEINSCHEL | 2014 | M1406A | T07 | 18GHz | RF1 | O | 사용
SUW-E0091 | N/A | TERMINATION | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | WEINSCHEL | 2014 | M1406A | T08 | 18GHz | RF1 | O | 사용
SUW-E0094 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | AEROFLEX/WEINSCHEL | 2014 | 2 | CE9518 | 30dB, 18GHz | RF1 | O | 사용
SUW-E0095 | N/A | Directional Coupler | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | KRYTAR | 2014 | 1850 | 164430 | 500MHz to 18GHz | RF1 | O | 사용
SUW-E0098 | N/A | Directional Coupler | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | KRYTAR | 2014 | 1850 | 164429 | 500MHz to 18GHz | RF1 | O | 사용
SUW-E0099 | 125-592 | Power Supply | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | AGILENT | 2014 | E3640A | MY54236144 | 20V, 30W | RF1 | O | 사용
SUW-E0100 | 125-592 | Power Supply | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | AGILENT | 2014 | E3640A | MY54226391 | 20V, 30W | RF1 | O | 사용
SUW-E0101 | 125-592 | Power Supply | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | AGILENT | 2014 | E3640A | MY54286199 | 20V, 30W | RF2 | O | 사용
SUW-E0102 | N/A | Digital Multimeter | 외부교정 | 2025-07-25 | HCT | 12 | 2026-07-25 | FLUKE | 2014 | 17B | 27770596WS | 1000V | RE1 | O | 사용
SUW-E0103 | N/A | Digital Multimeter | 외부교정 | 2025-07-25 | HCT | 12 | 2026-07-25 | FLUKE | 2014 | 17B | 27770600WS | 1000V | RE2 | O | 사용
SUW-E0104 | N/A | Digital Multimeter | 외부교정 | 2025-07-25 | HCT | 12 | 2026-07-25 | FLUKE | 2014 | 17B | 28050340WS | 1000V | RF1 | O | 사용
SUW-E0105 | N/A | Temp and Humidity recorder | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | LUTRON | 2014 | MHB-382SD | AH.53049 | 10~30℃, 90% | RF2 | O | 사용
SUW-E0106 | N/A | Temp and Humidity recorder | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | LUTRON | 2014 | MHB-382SD | AH.53052 | 10~30℃, 90% | RF1 | O | 사용
SUW-E0107 | N/A | Temp and Humidity recorder | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | LUTRON | 2014 | MHB-382SD | AH.38365 | 10~30℃, 90% | AC | O | 사용
SUW-E0108 | N/A | RF SWITCH | 비대상 | N/A | N/A | N/A | N/A | PASTERNACK | 2015 | PE7159 | PE7159-1 | - | RE1 | X | 사용
SUW-E0109 | N/A | RF SWITCH | 비대상 | N/A | N/A | N/A | N/A | PASTERNACK | 2015 | PE7159 | PE7159-2 | - | RE1 | X | 사용
SUW-E0110 | N/A | RF SWITCH | 비대상 | N/A | N/A | N/A | N/A | PASTERNACK | 2015 | PE7141 | PE7141 | - | RE1 | X | 사용
SUW-E0113 | 125-604 | Spectrum Analyzer | 외부교정 | 2025-12-29 | HCT | 12 | 2026-12-29 | AGILENT | 2015 | N9030A | MY54490312 | 3Hz to 40GHz | RF2 | O | 사용
SUW-E0114 | 125-605 | RECEIVER, EMI | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | R&S | 2015 | ESU40 | 100457 | 20Hz - 40GHz | RE2 | O | 사용
SUW-E0116 | 125-609 | Pre-Amplifier | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | SONOMA | 2015 | 310N | 351741 | 9kHz to 1GHz, 32dB | RE2 | O | 사용
SUW-E0117 | N/A | Filter | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | MICRO-TRONICS | 2015 | HPM50108-02 | G005 | HPF(MHZ) 1200 to 18000 | RE2 | O | 사용
SUW-E0118 | N/A | Filter | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | MICRO-TRONICS | 2015 | HPM50108-02 | G006 | HPF(MHZ) 1200 to 18000 | RE2 | O | 사용
SUW-E0119 | N/A | Filter | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | MICRO-TRONICS | 2015 | HPM50111-02 | 010 | HPF(MHZ) 2800 to 18000 | RE2 | O | 사용
SUW-E0120 | N/A | Filter | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | MICRO-TRONICS | 2015 | HPM50111-02 | 011 | HPF(MHZ) 2800 to 18000 | RE2 | O | 사용
SUW-E0121 | N/A | Filter | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | MICRO-TRONICS | 2015 | HPM50112-02 | G007 | HPF(MHZ) 6400 to 18000 | RE2 | O | 사용
SUW-E0122 | N/A | Filter | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | MICRO-TRONICS | 2015 | HPM50112-02 | G008 | HPF(MHZ) 6400 to 18000 | RE2 | O | 사용
SUW-E0123 | 125-610 | 3m Chamber | 비대상 | N/A | N/A | N/A | N/A | EME | 2015 | 3m_SAC | - | 30MHz to 40GHz | RE2 | X | 사용
SUW-E0124 | 125-612 | Bilog Antenna | 외부교정 | 2024-07-30 | HCT | 24 | 2026-07-30 | SCHWARZBECK | 2015 | VULB 9163 | 845 | 30 ~ 1000MHZ | RE2 | O | 사용
SUW-E0125 | 125-611 | HORN ANTENNA | 외부교정 | 2024-07-17 | OHTAMA | 24 | 2026-07-17 | ETS LINDGREN | 2015 | 3115 | 00161451 | 750MHz to 18GHz | RE1 | O | 사용
SUW-E0126 | N/A | Antenna Master | 비대상 | N/A | N/A | N/A | N/A | INNCO | 2015 | MA4000-XPET | 479/35160215 | - | RE2 | X | 사용
SUW-E0127 | N/A | Antenna Master | 비대상 | N/A | N/A | N/A | N/A | INNCO | 2015 | MA4000-EP | 480/35160215 | - | RE2 | X | 사용
SUW-E0128 | 125-616 | Controller | 비대상 | N/A | N/A | N/A | N/A | INNCO | 2015 | CO3000-4P | CO3000/849/35160215 | - | RE2 | X | 사용
SUW-E0129 | 125-610 | EUT Table | 비대상 | N/A | N/A | N/A | N/A | EME | 2015 | Styrofoam Table | - | - | RE2 | X | 사용
SUW-E0130 | 125-610 | Turntable | 비대상 | N/A | N/A | N/A | N/A | INNCO | 2015 | DS2000-1t | - | - | RE2 | X | 사용
SUW-E0131 | N/A | Notch Filter | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | MICRO-TRONICS | 2015 | BRC50705-02 | G024 | 0 to 5550, 6050 to 12000 | RE1 | O | 사용
SUW-E0132 | N/A | Notch Filter | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | MICRO-TRONICS | 2015 | BRC50705-02 | G025 | 0 to 5550, 6050 to 12000 | RE1 | O | 사용
SUW-E0133 | N/A | Notch Filter | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | MICRO-TRONICS | 2015 | BRM50702-02 | G036 | 0 to 2170 and 3000 to 18000 | RE1 | O | 사용
SUW-E0134 | N/A | Notch Filter | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | MICRO-TRONICS | 2015 | BRM50702-02 | G037 | 0 to 2170 and 3000 to 18000 | RE1 | O | 사용
SUW-E0135 | N/A | Notch Filter | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | MICRO-TRONICS | 2015 | BRM50707-02 | G002 | 0 to 1250 and 2600 to 9000 | RE1 | O | 사용
SUW-E0136 | N/A | Notch Filter | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | MICRO-TRONICS | 2015 | BRM50707-02 | G003 | 0 to 1250 and 2600 to 9000 | RE1 | O | 사용
SUW-E0137 | N/A | Notch Filter | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | MICRO-TRONICS | 2015 | BRM50709-02 | G001 | 0 to 2000 and 3200 to 18000 | RE1 | O | 사용
SUW-E0138 | N/A | Notch Filter | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | MICRO-TRONICS | 2015 | BRM50709-02 | G002 | 0 to 2000 and 3200 to 18000 | RE1 | O | 사용
SUW-E0139 | N/A | Notch Filter | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | MICRO-TRONICS | 2015 | BRM50713-02 | G001 | 0 to 1260 and 2240 to 9000 | RE1 | O | 사용
SUW-E0140 | N/A | Notch Filter | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | MICRO-TRONICS | 2015 | BRM50713-02 | G002 | 0 to 1260 and 2240 to 9000 | RE1 | O | 사용
SUW-E0141 | N/A | Notch Filter | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | MICRO-TRONICS | 2015 | BRM50716-2 | 006 | 0 to 4550 and 6400 to 18000 | RE1 | O | 사용
SUW-E0142 | N/A | Notch Filter | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | MICRO-TRONICS | 2015 | BRM50716-2 | 007 | 0 to 4550 and 6400 to 18000 | RE1 | O | 사용
SUW-E0143 | N/A | Filter | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | MICRO-TRONICS | 2015 | HPM50115-02 | G003 | 1000 to 18000 | RE2 | O | 사용
SUW-E0145 | N/A | Filter | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | MICRO-TRONICS | 2015 | HPM50118-02 | G001 | 4000 to 18000 | RE1 | O | 사용
SUW-E0146 | N/A | Filter | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | MICRO-TRONICS | 2015 | HPM50118-02 | G002 | 4000 to 18000 | RE2 | O | 사용
SUW-E0147 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | PASTERNACK | 2015 | PE7004-10 | 1 | DC to 18GHz | RE2 | O | 사용
SUW-E0148 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | PASTERNACK | 2015 | PE7004-10 | 2 | DC to 18GHz | RE2 | O | 사용
SUW-E0150 | N/A | Slide AC | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | 대광전기 | 2016 | 1KVA | SVK-TF-075-982 | 60V ~ 290V , 1KVA | RF1 | O | 사용
SUW-E0151 | N/A | Slide AC | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | 대광전기 | 2016 | 1KVA | SVK-TF-075-983 | 30V ~ 300V , 1KVA | RF2 | O | 사용
SUW-E0155 | N/A | Filter | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | MICRO-TRONICS | 2015 | HPM17543 | 010 | HPF 3GHz | RE1 | O | 사용
SUW-E0156 | N/A | Filter | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | MICRO-TRONICS | 2015 | HPS17542 | 009 | HPF 6GHz | RE1 | O | 사용
SUW-E0157 | N/A | Filter | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | MICRO-TRONICS | 2015 | LPS17541 | 009 | LPF 5GHz | RE1 | O | 사용
SUW-E0158 | 125-501 | HORN ANTENNA | 비대상 | N/A | N/A | N/A | N/A | ETS LINDGREN | 2015 | 3115 | 00167475 | 750MHz to 18GHz | RE1 | X | 여분
SUW-E0159 | N/A | HORN ANTENNA | 외부교정 | 2025-07-23 | HCT | 24 | 2027-07-23 | ETS LINDGREN | 2015 | 3116C | 00168645 | 18GHz to 40GHz | RE1 | O | 사용
SUW-E0162 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | PASTERNACK | 2018 | PE7395-10 | A011 | 10dB, 2W, 40GHz | RF1 | O | 사용
SUW-E0163 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | PASTERNACK | 2018 | PE7395-10 | A012 | 10dB, 2W, 40GHz | RF1 | O | 사용
SUW-E0164 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | PASTERNACK | 2018 | PE7395-10 | A013 | 10dB, 2W, 40GHz | RF1 | O | 사용
SUW-E0165 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | PASTERNACK | 2018 | PE7395-10 | A014 | 10dB, 2W, 40GHz | RF1 | O | 사용
SUW-E0166 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | WEINSCHEL | 2018 | WA76-30-21 | A015 | 30dB, 10W, 40GHz | RF1 | O | 사용
SUW-E0167 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | WEINSCHEL | 2018 | WA76-30-21 | A016 | 30dB, 10W, 40GHz | RF1 | O | 사용
SUW-E0168 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | WEINSCHEL | 2018 | WA48-30-21 | A017 | 30dB, 100W, 18GHz | RF1 | O | 사용
SUW-E0169 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | WEINSCHEL | 2018 | WA48-30-21 | A018 | 30dB, 100W, 18GHz | RF1 | O | 사용
SUW-E0170 | N/A | Directional Antenna | 자체점검 | N/A | N/A | N/A | N/A | Cobham | 2019 | FPA3-0.8-6.0R/1329 | 110367-0003 | 0.8 GHz ~ 6.0 GHz | RE1 | X | 사용
SUW-E0171 | N/A | Directional Antenna | 자체점검 | N/A | N/A | N/A | N/A | Cobham | 2019 | FPA3-0.8-6.0R/1329 | 80108-0004 | 0.8 GHz ~ 6.0 GHz | RE2 | X | 사용
SUW-E0172 | 125-817 | Spectrum Analyzer | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | KEYSIGHT | 2020 | N9040B | US57212313 | 2Hz to 50GHz | RE4 | O | 사용
SUW-E0173 | 125-818 | SA Extension Module | 외부교정 | 2026-01-05 | HCT | 12 | 2027-01-05 | VDI | 2020 | N9029AV15 | SAX486 | 50GHz to 75GHz | RE4 | O | 사용
SUW-E0174 | 125-819 | SA Extension Module | 외부교정 | 2026-01-05 | HCT | 12 | 2027-01-05 | VDI | 2020 | N9029AV12 | SAX485 | 60GHz to 90GHz | RE4 | O | 사용
SUW-E0175 | 125-820 | SA Extension Module | 외부교정 | 2026-01-05 | HCT | 12 | 2027-01-05 | VDI | 2020 | N9029AV10 | SAX388 | 75GHz to 110GHz | RE4 | O | 사용
SUW-E0176 | 125-821 | SA Extension Module | 외부교정 | 2026-01-05 | HCT | 12 | 2027-01-05 | VDI | 2020 | N9029AV06 | SAX483 | 110GHz to 170GHz | RE4 | O | 사용
SUW-E0177 | 125-822 | SA Extension Module | 외부교정 | 2026-01-05 | HCT | 12 | 2027-01-05 | VDI | 2020 | N9029AV04 | SAX487 | 170GHz to 260GHz | RE4 | O | 사용
SUW-E0178 | 125-823 | Signal Generator | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | KEYSIGHT | 2020 | E8257D | MY59140563 | 250kHz to 50GHz | RE4 | O | 사용
SUW-E0179 | 125-824 | SG Extension Module | 외부교정 | 2025-12-29 | HCT | 12 | 2026-12-29 | VDI | 2020 | E8257DV15 | SGX451 | 50GHz to 75GHz | RE4 | O | 사용
SUW-E0180 | 125-825 | SG Extension Module | 외부교정 | 2025-12-29 | HCT | 12 | 2026-12-29 | VDI | 2020 | E8257DV12 | SGX450 | 60GHz to 90GHz | RE4 | O | 사용
SUW-E0181 | 125-826 | SG Extension Module | 외부교정 | 2025-12-29 | HCT | 12 | 2026-12-29 | VDI | 2020 | E8257DV10 | SGX449 | 75GHz to 110GHz | RE4 | O | 사용
SUW-E0182 | 125-827 | SG Extension Module | 외부교정 | 2025-12-29 | HCT | 12 | 2026-12-29 | VDI | 2020 | E8257DV06 | SGX448 | 110GHz to 170GHz | RE4 | O | 사용
SUW-E0183 | 125-828 | SG Extension Module | 외부교정 | 2025-12-29 | HCT | 12 | 2026-12-29 | VDI | 2020 | E8257DV04 | SGX452 | 170GHz to 260GHz | RE4 | O | 사용
SUW-E0184 | N/A | Power Meter | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | KEYSIGHT | 2020 | N1913A | MY59460002 | 250kHz to 50GHz | RE4 | O | 사용
SUW-E0185 | 125-SE240 | Power Sensor | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | KEYSIGHT | 2020 | N8487A | MY59440002 | 50MHz to 50GHz | RE4 | O | 사용
SUW-E0186 | 125-830 | Power Sensor | 비대상 | N/A | N/A | N/A | N/A | KEYSIGHT | 2020 | V8486A | MY59500002 | 50GHz to 75GHz | RE4 | X | 여분
SUW-E0187 | 125-SE241 | Waveform generator | 비대상 | N/A | N/A | N/A | N/A | KEYSIGHT | 2020 | 33500B | MY59000351 | 20 MHz, 1channel | RE4 | X | 여분
SUW-E0188 | 125-831 | Oscilloscope | 외부교정 | 2025-12-29 | HCT | 12 | 2026-12-29 | KEYSIGHT | 2020 | MSOX4034A | MY59240783 | 4+16-channel, 350 MHz | RE4 | O | 사용
SUW-E0190 | 125-834 | UXM 5G Wireless Test Platform | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | KEYSIGHT | 2020 | E7515B | MY58010202 | - | RE4 | O | 사용
SUW-E0191 | 125-835 | UXM 5G Wireless Test Platform | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | KEYSIGHT | 2020 | E7515B | MY57510655 | - | RE4 | O | 사용
SUW-E0194 | 125-837 | Common Interface Unit | 자체점검 | N/A | N/A | N/A | N/A | KEYSIGHT | 2020 | E7770A | MY58290155 | - | RE4 | X | 사용
SUW-E0196 | N/A | Common Interface Unit | 자체점검 | N/A | N/A | N/A | N/A | KEYSIGHT | 2020 | E7770A | MY58290153 | - | RE4 | X | 사용
SUW-E0199 | 125-845 | mmWave Transceiver | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | KEYSIGHT | 2020 | M1740A | MY58270356 | - | RE4 | O | 사용
SUW-E0200 | 125-846 | mmWave Transceiver | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | KEYSIGHT | 2020 | M1740A | MY59291461 | - | RE4 | O | 사용
SUW-E0201 | 125-847 | mmWave Transceiver | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | KEYSIGHT | 2020 | M1740A | MY59291876 | - | RE4 | O | 사용
SUW-E0202 | 125-848 | mmWave Transceiver | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | KEYSIGHT | 2020 | M1740A | MY58270541 | - | RE4 | O | 사용
SUW-E0205 | 125-850 | HORN ANTENNA | 외부교정 | 2025-03-24 | HCT | 24 | 2027-03-24 | ETS LINDGREN | 2019 | 3117 | 00218957 | 1 GHz to 18 GHz | RE1 | O | 사용
SUW-E0206 | 125-851 | Harmonic Generator | 비대상 | N/A | N/A | N/A | N/A | OML,Inc. | 2020 | 40200WGS | 200115-1 | - | RE4 | X | 여분
SUW-E0207 | N/A | Video Amplifier | 비대상 | N/A | N/A | N/A | N/A | FEMTO | 2020 | HVA-200M-40-B | 05-01-358 | - | RE4 | X | 여분
SUW-E0208 | N/A | Video Amplifier | 비대상 | N/A | N/A | N/A | N/A | FEMTO | 2020 | HVA-200M-40-B | 05-01-359 | - | RE4 | X | 여분
SUW-E0209 | N/A | Filter | 비대상 | N/A | N/A | N/A | N/A | Mini-Circuits, Inc | 2020 | mini-Circuits BLP-10.7+ | 15542 | - | RE4 | X | 여분
SUW-E0210 | N/A | Antenna | 외부교정 | 2025-01-20 | RRA | 24 | 2027-01-20 | CMI, Inc. | 2020 | HO22R | UL22001 | 33GHz to 50GHz | RE4 | O | 사용
SUW-E0211 | N/A | Antenna | 외부교정 | 2025-01-20 | RRA | 24 | 2027-01-20 | CMI, Inc. | 2020 | HO22R | UL22002 | 33GHz to 50GHz | RE4 | O | 사용
SUW-E0212 | N/A | Antenna | 외부교정 | 2025-01-20 | RRA | 24 | 2027-01-20 | CMI, Inc. | 2020 | HO15R | UL15001 | 50GHz to 75GHz | RE4 | O | 사용
SUW-E0213 | N/A | Antenna | 외부교정 | 2025-01-20 | RRA | 24 | 2027-01-20 | CMI, Inc. | 2020 | HO15R | UL15002 | 50GHz to 75GHz | RE4 | O | 사용
SUW-E0214 | N/A | Antenna | 외부교정 | 2025-01-20 | RRA | 24 | 2027-01-20 | CMI, Inc. | 2020 | HO12R | UL12001 | 60GHz to 90GHz | RE4 | O | 사용
SUW-E0215 | N/A | Antenna | 외부교정 | 2025-01-20 | RRA | 24 | 2027-01-20 | CMI, Inc. | 2020 | HO12R | UL12002 | 60GHz to 90GHz | RE4 | O | 사용
SUW-E0216 | N/A | Antenna | 외부교정 | 2025-01-20 | RRA | 24 | 2027-01-20 | CMI, Inc. | 2020 | HO10R | UL10001 | 75GHz to 110GHz | RE4 | O | 사용
SUW-E0217 | N/A | Antenna | 외부교정 | 2025-01-20 | RRA | 24 | 2027-01-20 | CMI, Inc. | 2020 | HO10R | UL10002 | 75GHz to 110GHz | RE4 | O | 사용
SUW-E0218 | N/A | Antenna | 외부교정 | 2025-01-20 | RRA | 24 | 2027-01-20 | CMI, Inc. | 2020 | HO06R | UL06001 | 110GHz to 170GHz | RE4 | O | 사용
SUW-E0219 | N/A | Antenna | 외부교정 | 2025-01-20 | RRA | 24 | 2027-01-20 | CMI, Inc. | 2020 | HO06R | UL06002 | 110GHz to 170GHz | RE4 | O | 사용
SUW-E0220 | N/A | Antenna | 외부교정 | 2025-01-20 | RRA | 24 | 2027-01-20 | CMI, Inc. | 2020 | HO04R | UL04001 | 170GHz to 260GHz | RE4 | O | 사용
SUW-E0221 | N/A | Antenna | 외부교정 | 2025-01-20 | RRA | 24 | 2027-01-20 | CMI, Inc. | 2020 | HO04R | UL04002 | 170GHz to 260GHz | RE4 | O | 사용
SUW-E0222 | N/A | Antenna | 외부교정 | 2025-01-20 | RRA | 24 | 2027-01-20 | CMI, Inc. | 2020 | HO03R | UL03001 | 220GHz to 325GHz | RE4 | O | 사용
SUW-E0223 | N/A | Antenna | 외부교정 | 2025-01-20 | RRA | 24 | 2027-01-20 | CMI, Inc. | 2020 | HO03R | UL03002 | 220GHz to 325GHz | RE4 | O | 사용
SUW-E0224 | 125-854 | Attenuator | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | Flann Microwave, Inc. | 2020 | 25110 | 266894 | 50GHz to 75GHz | RE4 | X | 사용
SUW-E0225 | 125-855 | Attenuator | 비대상 | N/A | N/A | N/A | N/A | Sage Millimeter, Inc. | 2020 | STA-60-15-D8 | 18787-01 | 50GHz to 75GHz | RE4 | X | 여분
SUW-E0226 | 125-SE243 | Waveguide Detector & Full Band Isolator | 비대상 | N/A | N/A | N/A | N/A | Sage Millimeter, Inc. | 2020 | WR15 | 18787-01 | 50GHz to 75GHz | RE4 | X | 여분
SUW-E0227 | N/A | Coupler | 비대상 | N/A | N/A | N/A | N/A | MI-WANE, Inc. | 2020 | 561V-3/385 | 16438 | 50GHz to 75GHz | RE4 | X | 여분
SUW-E0228 | N/A | Coupler | 비대상 | N/A | N/A | N/A | N/A | MI-WANE, Inc. | 2020 | 561V-3/385 | 16469 | 50GHz to 75GHz | RE4 | X | 여분
SUW-E0229 | N/A | Coupler | 비대상 | N/A | N/A | N/A | N/A | MI-WANE, Inc. | 2020 | 561V-10/385 | 1944 | 50GHz to 75GHz | RE4 | X | 여분
SUW-E0230 | N/A | Power Splitter | 외부교정 | 2026-01-06 | HCT | 12 | 2027-01-06 | WEINSCHEL | 2020 | WA1534 | UL001 | - | RF1 | O | 사용
SUW-E0232 | N/A | Power Splitter | 외부교정 | 2025-12-29 | HCT | 12 | 2026-12-29 | WEINSCHEL | 2020 | WA1534 | UL003 | - | RF1 | O | 사용
SUW-E0233 | N/A | Power Splitter | 외부교정 | 2026-01-06 | HCT | 12 | 2027-01-06 | WEINSCHEL | 2020 | WA1534 | UL004 | - | RF1 | O | 사용
SUW-E0234 | N/A | High Pass Filter | 외부교정 | 2025-12-29 | HCT | 12 | 2026-12-29 | MICRO-TRONICS | 2020 | HPM50107 | G061 | - | RE2 | O | 사용
SUW-E0235 | N/A | High Pass Filter | 외부교정 | 2025-12-29 | HCT | 12 | 2026-12-29 | MICRO-TRONICS | 2020 | HPM50107 | G062 | - | RE2 | O | 사용
SUW-E0236 | N/A | High Pass Filter | 외부교정 | 2025-12-29 | HCT | 12 | 2026-12-29 | MICRO-TRONICS | 2020 | HPM50107 | G063 | - | RE2 | O | 사용
SUW-E0237 | N/A | Temp and Humidity recorder | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | LUTRON | 2020 | MHB-382SD | AJ.72586 | 10~30℃, 90% | RE4 | O | 사용
SUW-E0238 | 125-SE258 | High Pass Filter | 외부교정 | 2025-12-29 | HCT | 12 | 2026-12-29 | Wainwright Instruments GmbH | 2020 | WHW2-8165-11500-21000-40CD | 11 | - | RE2 | O | 사용
SUW-E0239 | 125-SE259 | High Pass Filter | 외부교정 | 2025-12-29 | HCT | 12 | 2026-12-29 | Wainwright Instruments GmbH | 2020 | WHW2-7100-10000-18000-40CD | 2 | - | RE2 | O | 사용
SUW-E0240 | 125-SE256 | Low Pass Filter | 외부교정 | 2025-12-29 | HCT | 12 | 2026-12-29 | Wainwright Instruments GmbH | 2020 | WLKX12-5400-5940-18000-60ST | 1 | - | RE2 | O | 사용
SUW-E0241 | 125-SE257 | Low Pass Filter | 외부교정 | 2025-12-29 | HCT | 12 | 2026-12-29 | Wainwright Instruments GmbH | 2020 | WLKX10-6400-7424-18000-60ST | 1 | - | RE2 | O | 사용
SUW-E0242 | N/A | Power Sensor | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | AGILENT | 2020 | U2000A | MY54260010 | 18GHz, Avg | RF1 | O | 사용
SUW-E0244 | 125-879 | Power Sensor | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | R&S | 2020 | NRP50S | 101284 | 50 MHz ~ 50 GHz | RE4 | O | 사용
SUW-E0245 | N/A | Directional Coupler | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | KRYTAR | 2020 | 110067006 | 205759 | 10 – 67 GHz | RE4 | O | 사용
SUW-E0246 | N/A | HORN ANTENNA | 외부교정 | 2024-12-24 | HCT | 24 | 2026-12-24 | ETS LINDGREN | 2021 | 3116C | 00227907 | 18GHz to 40GHz | RE5 | O | 사용
SUW-E0247 | N/A | mmWave OTA Test Chamber | 비대상 | N/A | N/A | N/A | N/A | Bojay | 2020 | BJ-8827-UL2 | ZHBJ2008-BU1-F253779 | 800 MHz to 44GHz | RE4 | X | 사용
SUW-E0248 | N/A | Spectrum Analyzer | 외부교정 | 2026-01-07 | HCT | 12 | 2027-01-07 | KEYSIGHT | 2021 | N9030B | MY60070693 | 2Hz to 44GHz | RF1 | O | 사용
SUW-E0249 | N/A | Spectrum Analyzer | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | KEYSIGHT | 2021 | N9040B | MY60080268 | 2Hz to 50GHz | RE5 | O | 사용
SUW-E0250 | 125-856 | SA Extension Module | 외부교정 | 2026-01-05 | HCT | 12 | 2027-01-05 | VDI | 2021 | N9029AV15 | SAX693 | 50GHz to 75GHz | RE5 | O | 사용
SUW-E0251 | N/A | SA Extension Module | 외부교정 | 2026-01-05 | HCT | 12 | 2027-01-05 | VDI | 2021 | N9029AV12 | SAX790 | 60GHz to 90GHz | RE5 | O | 사용
SUW-E0252 | 125-856 | SA Extension Module | 외부교정 | 2026-01-05 | HCT | 12 | 2027-01-05 | VDI | 2021 | N9029AV10 | SAX597 | 75GHz to 110GHz | RE5 | O | 사용
SUW-E0253 | 125-857 | SA Extension Module | 외부교정 | 2026-01-05 | HCT | 12 | 2027-01-05 | VDI | 2021 | N9029AV06 | SAX789 | 110GHz to 170GHz | RE5 | O | 사용
SUW-E0254 | N/A | SA Extension Module | 외부교정 | 2026-01-05 | HCT | 12 | 2027-01-05 | VDI | 2021 | N9029AV04 | SAX791 | 170GHz to 260GHz | RE5 | O | 사용
SUW-E0255 | N/A | Spectrum Analyzer | 외부교정 | 2025-12-29 | HCT | 12 | 2026-12-29 | R&S | 2021 | FSW50 | 101538 | 2 Hz ~ 50 GHz | RF1 | O | 사용
SUW-E0256 | 125-932 | Call Box | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | R&S | 2021 | CMW500 | 169794 | GSM,WCDMA,LTE | RF1 | O | 사용
SUW-E0257 | 125-932 | Call Box | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | R&S | 2021 | CMW500 | 169795 | GSM,WCDMA,LTE | RE2 | O | 사용
SUW-E0258 | 125-932 | Call Box | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | R&S | 2021 | CMW500 | 169796 | GSM,CDMA,WCDMA,LTE | RE1 | O | 사용
SUW-E0262 | N/A | Comb Generator | 자체점검 | N/A | N/A | N/A | N/A | COM-POWER | 2021 | CGO-515 | 26060075 | - | RE3 | X | 사용
SUW-E0263 | N/A | Comb Generator | 자체점검 | N/A | N/A | N/A | N/A | COM-POWER | 2021 | CGO-51000 | 26050056 | - | RE1 | X | 사용
SUW-E0264 | N/A | Comb Generator | 자체점검 | N/A | N/A | N/A | N/A | COM-POWER | 2021 | CGO-51000 | 26050055 | - | RE4 | X | 사용
SUW-E0265 | N/A | Turn Table | 비대상 | N/A | N/A | N/A | N/A | EME | 2017 | DS2000-1t | - | - | RE3 | X | 사용
SUW-E0266 | 125-666 | Antenna Mast | 비대상 | N/A | N/A | N/A | N/A | EME | 2017 | MA4000-XPET | 501/36981015/L | - | RE3 | X | 사용
SUW-E0267 | 125-668 | Antenna Mast | 비대상 | N/A | N/A | N/A | N/A | EME | 2017 | MA4000-EP | 504/36981015/L | - | RE3 | X | 사용
SUW-E0268 | N/A | Controller | 비대상 | N/A | N/A | N/A | N/A | EME | 2017 | CO3000-4P with GPIB | 974/39541016/L | - | RE3 | X | 사용
SUW-E0269 | 125-676 | Horn Antenna | 외부교정 | 2024-08-09 | HCT | 24 | 2026-08-09 | ETS LINDGREN | 2017 | 3117 | 205959 | 750MHz to 18GHz | RE4 | O | 사용
SUW-E0270 | 125-677 | Horn Antenna | 비대상 | N/A | N/A | N/A | N/A | ETS LINDGREN | 2017 | 3116C | 211363 | 750MHz to 18GHz | RE3 | X | 여분
SUW-E0271 | N/A | Temp and Humidity recorder | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | LUTRON | 2017 | MHB-382SD | AI.69478 | 10~30℃, 90% | RE3 | O | 사용
SUW-E0272 | N/A | Pre-Amplifier | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | MITEQ | 2017 | AFS42-00101800-25-S-42 | 2029169 | - | RE3 | O | 사용
SUW-E0273 | N/A | Fixed Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | PASTERNACK | 2017 | PE7087-10 | A015 | - | RE3 | O | 사용
SUW-E0274 | N/A | Filter | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | MICRO-TRONICS | 2017 | HPM17543 | 20 | (3GHz HPF) | RE3 | O | 사용
SUW-E0275 | N/A | Filter | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | MICRO-TRONICS | 2017 | HPS17542 | 21 | (6GHz HPF) | RE3 | O | 사용
SUW-E0276 | N/A | Filter | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | MICRO-TRONICS | 2017 | LPS17541 | 020 | (5GHz LPF) | RE3 | O | 사용
SUW-E0277 | N/A | Switch Drive | 비대상 | N/A | N/A | N/A | N/A | AGILENT | 2017 | 11713A | 3748A09520 | - | RE3 | X | 사용
SUW-E0278 | 125-SE150 | AMPLIFIER | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | SONOMA | 2017 | 310N | 370599 | - | RE3 | O | 사용
SUW-E0279 | N/A | Temp and Humidity recorder | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | LUTRON | 2021 | MHB-382SD | AK.12115 | 10~30℃, 90% | RE5 | O | 사용
SUW-E0280 | N/A | Power Sensor | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | R&S | 2021 | NRP8S | 111164 | 10 MHz ~ 8 GHz | RE4 | O | 사용
SUW-E0281 | 213373 | Network Analyzer | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | KEYSIGHT | 2021 | N5225B | MY61253600 | 10 MHz ~ 50 GHz | RF1 | O | 사용
SUW-E0283 | 125-SE313 | Power Sensor | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | KEYSIGHT | 2021 | U2052XA | MY60000079 | 10 MHz ~ 18 GHz | RF2 | O | 사용
SUW-E0284 | 213411 | UXM 5G Wireless Test Platform | 외부교정 | 2025-12-29 | HCT | 12 | 2026-12-29 | KEYSIGHT | 2022 | E7515B | MY58460570 | - | RE1 | O | 사용
SUW-E0285 | N/A | Average Power Sensor | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | KEYSIGHT | 2022 | U2055XA | MY60000072 | 10 MHz ~ 50 GHz | RE4 | O | 사용
SUW-E0286 | N/A | Average Power Sensor | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | KEYSIGHT | 2022 | U2055XA | MY60000073 | 10 MHz ~ 50 GHz | RE4 | O | 사용
SUW-E0287 | 125-SE319 | Directional Coupler | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | KEYSIGHT | 2022 | 87301C | US55330276 | 10 to 50 GHz | RE4 | O | 사용
SUW-E0288 | 125-SE319 | Directional Coupler | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | KEYSIGHT | 2022 | 87301C | US55330277 | 10 to 50 GHz | RE4 | O | 사용
SUW-E0289 | 125-932 | Call Box | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | R&S | 2021 | CMW500 | 169797 | GSM,WCDMA,LTE | RF2 | O | 사용
SUW-E0290 | N/A | Comb Generator | 자체점검 | N/A | HCT | N/A | N/A | COM-POWER | 2022 | CGO-51000 | 26050101 | - | RE5 | X | 사용
SUW-E0291 | N/A | Comb Generator | 자체점검 | N/A | HCT | N/A | N/A | COM-POWER | 2022 | CGO-51000 | 26050102 | - | RE4 | X | 사용
SUW-E0292 | 125-SE322 | Power Splitter | 외부교정 | 2025-12-29 | HCT | 12 | 2026-12-29 | WEINSCHEL | 2022 | WA1534 | UL005 | - | RF2 | O | 사용
SUW-E0293 | 125-SE322 | Power Splitter | 외부교정 | 2026-01-06 | HCT | 12 | 2027-01-06 | WEINSCHEL | 2022 | WA1534 | UL006 | - | RF2 | O | 사용
SUW-E0294 | 125-SE322 | Power Splitter | 외부교정 | 2025-12-29 | HCT | 12 | 2026-12-29 | WEINSCHEL | 2022 | WA1534 | UL007 | - | RF2 | O | 사용
SUW-E0295 | 125-SE322 | Power Splitter | 외부교정 | 2026-01-06 | HCT | 12 | 2027-01-06 | WEINSCHEL | 2022 | WA1534 | UL008 | - | RF2 | O | 사용
SUW-E0296 | 125-SE322 | Power Splitter | 외부교정 | 2025-12-29 | HCT | 12 | 2026-12-29 | WEINSCHEL | 2022 | WA1534 | UL009 | - | RF2 | O | 사용
SUW-E0297 | 125-SE322 | Power Splitter | 외부교정 | 2026-01-06 | HCT | 12 | 2027-01-06 | WEINSCHEL | 2022 | WA1534 | UL010 | - | RF2 | O | 사용
SUW-E0298 | N/A | Attenuator | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | PASTERNACK | 2022 | PE7395-10 | A011 | 10dB, 2W, 40GHz | RF2 | O | 사용
SUW-E0299 | N/A | Attenuator | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | PASTERNACK | 2022 | PE7395-10 | A012 | 10dB, 2W, 40GHz | RF2 | O | 사용
SUW-E0300 | 226769 | HORN ANTENNA | 비대상 | N/A | N/A | N/A | N/A | ETS LINDGREN | 2023 | 3117 | 00252696 | 1 GHz to 18 GHz | RE4 | X | 여분
SUW-E0301 | 226770 | HORN ANTENNA | 비대상 | N/A | N/A | N/A | N/A | ETS LINDGREN | 2023 | 3117 | 00252687 | 1 GHz to 18 GHz | RE5 | X | 여분
SUW-E0302 | 252687 | Directional Antenna | 비대상 | N/A | N/A | N/A | N/A | COBHAM | 2023 | FPA3-0.8-6.0R/1329 | 182102-0001 | 0.8 GHz ~ 6.0 GHz | RF1 | X | 사용
SUW-E0303 | 252687 | Directional Antenna | 비대상 | N/A | N/A | N/A | N/A | COBHAM | 2023 | FPA3-0.8-6.0R/1329 | 182102-0002 | 0.8 GHz ~ 6.0 GHz | RE2 | X | 사용
SUW-E0304 | 252687 | Directional Antenna | 비대상 | N/A | N/A | N/A | N/A | COBHAM | 2023 | FPA3-0.8-6.0R/1329 | 182102-0003 | 0.8 GHz ~ 6.0 GHz | RE2 | X | 사용
SUW-E0305 | 252687 | Directional Antenna | 비대상 | N/A | N/A | N/A | N/A | COBHAM | 2023 | FPA3-0.8-6.0R/1329 | 182102-0004 | 0.8 GHz ~ 6.0 GHz | RE3 | X | 사용
SUW-E0306 | 252687 | Directional Antenna | 비대상 | N/A | N/A | N/A | N/A | COBHAM | 2023 | FPA3-0.8-6.0R/1329 | 182102-0005 | 0.8 GHz ~ 6.0 GHz | RE4 | X | 사용
SUW-E0307 | 227056 | Pre-Amplifier | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | B&Z Technologies, LLC | 2023 | BZR-01001800-231040-182020 | 28451 | 100 MHz to 18 GHz | RE1 | O | 사용
SUW-E0309 | 125-695 | Switch Driver | 비대상 | N/A | N/A | N/A | N/A | HP | 2017 | 11713A | 3334A10856 | - | RE1 | O | 사용
SUW-E0310 | 125-695 | Spectrum Analyzer | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | R&S | 2017 | FSV40 | 101237 | 10Hz to 40GHz -154dBm to +30dBm | 3F-RF | O | 사용
SUW-E0311 | 125-688 | Spectrum Analyzer | 외부교정 | 2025-12-29 | HCT | 12 | 2026-12-29 | R&S | 2017 | FSW43 | 104089 | 2 Hz to 43 GHz -153 dBm to 30 dBm | 1F-RSE | O | 사용
SUW-E0312 | 125-691 | Signal Generator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | R&S | 2017 | SMB100A | 180032 | 100 kHz to 40 GHz | 3F-RF | O | 사용
SUW-E0313 | 125-693 / 125-693(1) | Signal Generator | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | R&S | 2017 | SMBV100A | 262409 | 9KHz to 6GHz | 3F-RF | O | 사용
SUW-E0314 | 125-692 | Open Switch and Control Unit | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | R&S | 2017 | OSP120 | 101740 | 30 MHz to 18 GHz | 3F-RF | O | 사용
SUW-E0316 | 125-675 | Temperature & Humidity Chamber | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | ESPEC | 2017 | PL-3J | 15011850 | -40 °C ~ 150 °C 20 - 98% | 3F-RF | O | 사용
SUW-E0317 | 125-727 | Wireless Connectivity Tester | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | R&S | 2017 | CMW270 | 100982 | WLAN/BT/LE | 3F-RF | O | 사용
SUW-E0319 | N/A | POWER DIVIDER | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | WEINSCHEL | 2017 | 1580 | SQ373 | DC to 26.5 GHz | 3F-RF | O | 사용
SUW-E0320 | N/A | ATTENUATOR | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | WEINSCHEL | 2017 | 54A-10 | 74560 | DC to 40 GHz | 3F-RF | O | 사용
SUW-E0322 | N/A | ATTENUATOR | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | R&S | 2017 | 10 dB | None | 8997 / OSP | 3F-RF | O | 사용
SUW-E0323 | N/A | ATTENUATOR | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | R&S | 2017 | 10 dB | None | 8997 / OSP | 3F-RF | O | 사용
SUW-E0324 | N/A | ATTENUATOR | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | R&S | 2017 | 10 dB | None | 8997 / OSP | 3F-RF | O | 사용
SUW-E0325 | N/A | ATTENUATOR | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | R&S | 2017 | 10 dB | None | 8997 / OSP | 3F-RF | O | 사용
SUW-E0326 | 125-704 | BiLog Antenna | 외부교정 | 2025-07-23 | HCT | 24 | 2027-07-23 | SCHWARZBECK | 2017 | VULB 9163 | 9163-951 | 25 - 3000 MHz, 100 W | 1F-RSE | O | 사용
SUW-E0327 | 125-706 | Horn Antenna | 외부교정 | 2025-01-03 | HCT | 24 | 2027-01-03 | SCHWARZBECK | 2017 | BBHA 9120 D | 1609 | 1 - 18 GHz | 1F-RSE | O | 사용
SUW-E0328 | 125-SE152 | Biconical Antenna | 외부교정 | 2024-12-24 | HCT | 24 | 2026-12-24 | SCHWARZBECK | 2017 | VUBA 9117 | 9117-348 | 150 - 1000 MHz | 1F-RSE | O | 사용
SUW-E0329 | 125-SE154 | Horn Antenna | 외부교정 | 2025-01-03 | HCT | 24 | 2027-01-03 | SCHWARZBECK | 2017 | BBHA 9120 D | 1628 | 1 - 18 GHz | 1F-RSE | O | 사용
SUW-E0331 | 125-707 | Pre-Amplifier | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | R&S | 2017 | SCU-18F | 180009 | 1GHz - 18GHz Typical Gain 40dB | 1F-RSE | O | 사용
SUW-E0332 | 125-709 | Pre-Amplifier | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | R&S | 2017 | SCU-26D | 1984520 | 18GHz-26.5GHz Typical Gain 45dB | 1F-RSE | O | 사용
SUW-E0333 | 125-685 | Pre-Amplifier | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | R&S | 2017 | SCU-40D | 1952065 | 26GHz to 40GHz Typical Gain 50dB | 1F-RSE | O | 사용
SUW-E0334 | N/A | Temp and Humidity recorder | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | LUTRON | 2017 | MHB-382SD | AI.69479 | 10~30℃, 90% | 1F-RSE | O | 사용
SUW-E0335 | 125-713 | Horn Antenna | 외부교정 | 2025-01-03 | HCT | 24 | 2027-01-03 | STEATITE | 2017 | QMS-00225 | 17499 | 18 GHz ~ 26 GHz | 1F-RSE | O | 사용
SUW-E0336 | 125-708 | Horn Antenna | 외부교정 | 2025-01-03 | HCT | 24 | 2027-01-03 | STEATITE | 2017 | QMS-00238 | 17500 | 26 GHz ~ 40 GHz | 1F-RSE | O | 사용
SUW-E0337 | 125-SE153 | Horn Antenna | 외부교정 | 2025-01-03 | HCT | 24 | 2027-01-03 | STEATITE | 2017 | QMS-00208 | 17501 | 12 GHz ~ 18 GHz | 1F-RSE | O | 사용
SUW-E0338 | 125-714 | Horn Antenna | 외부교정 | 2025-01-03 | HCT | 24 | 2027-01-03 | STEATITE | 2017 | QMS-00225 | 17502 | 18 GHz ~ 26 GHz | 1F-RSE | O | 사용
SUW-E0339 | 125-710 | Horn Antenna | 외부교정 | 2025-01-03 | HCT | 24 | 2027-01-03 | STEATITE | 2017 | QMS-00238 | 17503 | 26 GHz ~ 40 GHz | 1F-RSE | O | 사용
SUW-E0340 | 125-665 | RSE Chamber | 자체점검 | N/A | N/A | N/A | N/A | EME | 2017 | - | - | - | 1F-RSE | X | 사용
SUW-E0341 | N/A | Turn Disk | 자체점검 | N/A | N/A | N/A | N/A | INNCO | 2017 | CT 0800 | 108/39541016/L | - | 1F-RSE | X | 사용
SUW-E0342 | 125-717 | 2D Rotator | 자체점검 | N/A | N/A | N/A | N/A | INNCO | 2017 | DE 3700-RH | 103/3954106/L | - | 1F-RSE | X | 사용 | `
SUW-E0343 | 125-712 | Antenna Stand | 자체점검 | N/A | N/A | N/A | N/A | INNCO | 2017 | AS 2500-PP | 104/3954106/L | - | 1F-RSE | X | 사용
SUW-E0344 | 125-715 | Filter Bank | 자체점검 | N/A | N/A | N/A | N/A | R&S | 2017 | Filter Bank | - | - | 1F-RSE | X | 사용
SUW-E0345 | 125-716 | Filter Bank | 자체점검 | N/A | N/A | N/A | N/A | R&S | 2017 | Filter Bank | - | - | 1F-RSE | X | 사용
SUW-E0346 | 125-SE155 | Open Switch and Control Unit | 자체점검 | N/A | N/A | N/A | N/A | R&S | 2017 | OSP120 | 101745 | DC to 18 GHz | 1F-RSE | X | 사용
SUW-E0347 | 125-SE156 | Open Switch and Control Unit | 자체점검 | N/A | N/A | N/A | N/A | R&S | 2017 | OSP150 | 100924 | DC to 18 GHz | 1F-RSE | X | 사용
SUW-E0348 | N/A | Termination | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | R&S | 2019 | SMA-1 | 1 | 50 Ω | 3F-RF | O | 사용
SUW-E0349 | N/A | Termination | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | R&S | 2019 | SMA-2 | 2 | 50 Ω | 3F-RF | O | 사용
SUW-E0350 | N/A | Termination | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | None | 2019 | None | OSP1 | 50 Ω | 3F-RF | O | 사용
SUW-E0351 | 125-SE203 | Passive Loop Antenna | 자체점검 | N/A | N/A | N/A | N/A | TESTEK | 2019 | P-Loop | 1 | diameter 2m | 3F-RF | X | 사용
SUW-E0352 | 125-765 | 진동시험기 | 외부교정 | 2025-07-30 | HCT | 12 | 2026-07-30 | ㈜가나시험기 | 2019 | GNV-700 | 1 | 10Hz ~ 60 Hz / 0.1mm ~ 3.6mm | 3F-RF | O | 사용
SUW-E0353 | N/A | 낙하시험기 | 자체점검 | N/A | N/A | N/A | N/A | ㈜가나시험기 | 2019 | GNP-320 | 1 | Max. 1500mm | 3F-RF | X | 사용
SUW-E0354 | N/A | 연속시험기 | 외부교정 | 2025-07-22 | HCT | 24 | 2027-07-22 | Autonics | 2019 | LE4S | None | Max. 9999 hour | 3F-RF | O | 사용
SUW-E0355 | N/A | 진동계 | 외부교정 | 2025-07-30 | HCT | 12 | 2026-07-30 | LUTRON | 2019 | VB-8201HA | 039628 | 10 Hz ~ 1kHz | 3F-RF | O | 사용
SUW-E0356 | N/A | Spectrum Analyzer | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | KEYSIGHT | 2020 | N9030B | MY57143717 | 2 Hz ~ 44 GHz | 3F-RF | O | 사용
SUW-E0357 | N/A | Spectrum Analyzer | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | KEYSIGHT | 2020 | N9030B | MY57143652 | 2 Hz ~ 44 GHz | 3F-RF | O | 사용
SUW-E0358 | N/A | BAND REJECT FILTER | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | WAINWRIGHT INSTRUMENTS GMBH | 2020 | WTRCTV5-1710-2000-20-60-40SSM | 3 | 1710 MHz ~ 2 GHz / 20 MHz / 40 dB | 3F-RF | O | 사용
SUW-E0359 | N/A | BAND REJECT FILTER | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | WAINWRIGHT INSTRUMENTS GMBH | 2020 | WTRCT8-680-980-20-40-40SSM | 3 | 680 MHz ~ 980 MHz / 20 MHz / 40 dB | 3F-RF | O | 사용
SUW-E0360 | N/A | BAND REJECT FILTER | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | WAINWRIGHT INSTRUMENTS GMBH | 2020 | WTRCT10-2450-2750-20-40-40SSM | 3 | 2450 MHz ~ 2750 MHz / 20 MHz / 40 dB | 3F-RF | O | 사용
SUW-E0361 | N/A | POWER SPLITTER | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | KEYSIGHT | 2020 | 11667C | MY51355084 | DC-50GHz (Connectors type 2.4mm) | 3F-RF | O | 사용
SUW-E0362 | N/A | POWER SPLITTER | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | KEYSIGHT | 2020 | 11667A | MY51358183 | DC-18GHz | 3F-RF | O | 사용
SUW-E0363 | N/A | DC POWER SUPPLY | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | KIKUSUI | 2020 | PWR2001ML | AT001025 | Up to 80V | 3F-RF | O | 사용
SUW-E0364 | N/A | DC POWER SUPPLY | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | KIKUSUI | 2020 | PWR2001ML | AQ000860 | Up to 80V | 3F-RF | O | 사용
SUW-E0366 | N/A | ATTENUATOR | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | WEINSCHEL | 2020 | WA88-30-1313 | 2 | DC-40GHz | 3F-RF | O | 사용
SUW-E0367 | 125-900 | Walk in chamber | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | ENEX SCIENCE | 2020 | EN-RC-2004-1K | EN20200711 | -40 °C ~ 85 °C 30 - 98% | 3F-RF | O | 사용
SUW-E0368 | N/A | DC POWER SUPPLY | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | KIKUSUI | 2020 | PWR2001ML | AX000660 | Up to 80V | 3F-RF | O | 사용
SUW-E0369 | N/A | DC POWER SUPPLY | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | KIKUSUI | 2020 | PWR2001ML | AX001947 | Up to 80V | 3F-RF | O | 사용
SUW-E0370 | 125-906 | Mobile Radio Test Platform | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | TESCOM | 2020 | MTP300A | MTP300A010266 | 650 MHz ~ 6 GHz | 3F-RF | O | 사용
SUW-E0371 | 125-543 | Power Sensor | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | R&S | 2014 | NRP-Z91 | 102681 | 6GHz, Avg | 3F-RF | O | 사용
SUW-E0372 | 125-SE110 | Audio Analyzer | 외부교정 | 2025-07-24 | HCT | 12 | 2026-07-24 | AGILENT | 2016 | 8903B | 3729A17310 | 20 Hz to 100 kHz | 3F-RF | O | 사용
SUW-E0373 | 125-SE111 | Modulation Analyzer | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | AGILENT | 2016 | 8901B | 2806A01423 | 150 kHz ~ 1300 MHz | 3F-RF | O | 사용
SUW-E0374 | 125-SE112 | Function Waveform Generator | 외부교정 | 2025-07-24 | HCT | 12 | 2026-07-24 | AGILENT | 2016 | 33250A | MY40009047 | 80 MHz | 3F-RF | O | 사용
SUW-E0375 | N/A | ATTENUATOR | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | WEINSCHEL | 2021 | WA24-40-34 | 1 | 8.5GHz, 50W, 40dB | 3F-RF | O | 사용
SUW-E0376 | N/A | ATTENUATOR | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | WEINSCHEL | 2021 | WA24-40-34 | 2 | 8.5GHz, 50W, 40dB | 3F-RF | O | 사용
SUW-E0377 | N/A | ATTENUATOR | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | WEINSCHEL | 2021 | WA24-40-34 | 3 | 8.5GHz, 50W, 40dB | 3F-RF | O | 사용
SUW-E0378 | N/A | ATTENUATOR | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | WEINSCHEL | 2021 | WA24-40-34 | 4 | 8.5GHz, 50W, 40dB | 3F-RF | O | 사용
SUW-E0379 | N/A | ATTENUATOR | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | WEINSCHEL | 2021 | WA24-40-34 | 5 | 8.5GHz, 50W, 40dB | 3F-RF | O | 사용
SUW-E0380 | N/A | ATTENUATOR | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | WEINSCHEL | 2021 | WA24-40-34 | 6 | 8.5GHz, 50W, 40dB | 3F-RF | O | 사용
SUW-E0381 | N/A | ATTENUATOR | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | WEINSCHEL | 2021 | WA24-40-34 | 7 | 8.5GHz, 50W, 40dB | 3F-RF | O | 사용
SUW-E0382 | N/A | ATTENUATOR | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | WEINSCHEL | 2021 | WA24-40-34 | 8 | 8.5GHz, 50W, 40dB | 3F-RF | O | 사용
SUW-E0383 | N/A | ATTENUATOR | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | WEINSCHEL | 2021 | WA24-40-34 | 9 | 8.5GHz, 50W, 40dB | 3F-RF | O | 사용
SUW-E0384 | N/A | ATTENUATOR | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | WEINSCHEL | 2021 | WA24-40-34 | 10 | 8.5GHz, 50W, 40dB | 3F-RF | O | 사용
SUW-E0385 | N/A | BAND REJECT FILTER | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | WAINWRIGHT | 2021 | WRCGV10-2260-2300-2400-2440-50SS | 2 | 2300MHz ~ 2400MHz / 100MHz / 50dB | 3F-RF | O | 사용
SUW-E0386 | N/A | BAND REJECT FILTER | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | WAINWRIGHT | 2021 | WRCGV10-2465-2500-2600-2635-45SS | 1 | 2500MHz ~ 2600MHz / 100MHz / 45dB | 3F-RF | O | 사용
SUW-E0387 | N/A | BAND REJECT FILTER | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | WAINWRIGHT | 2021 | WRCGV14-2560-2570-2620-2630-50SS | 8 | 2570MHz ~ 2620MHz / 50MHz / 50dB | 3F-RF | O | 사용
SUW-E0388 | N/A | BAND REJECT FILTER | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | WAINWRIGHT | 2021 | WRCQV14-3250-3400-3800-3950-60SS | 3 | 3400MHz ~ 3800MHz / 400MHz / 60dB | 3F-RF | O | 사용
SUW-E0389 | N/A | BAND REJECT FILTER | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | WAINWRIGHT | 2021 | WRCTF12+9-2575-2590-2690-2705-45SS | 1 | 2590MHz ~ 2690MHz / 100MHz / 45dB | 3F-RF | O | 사용
SUW-E0390 | N/A | RF Switching Unit | 자체점검 | N/A | N/A | N/A | N/A | TA Engineering | 2021 | TA-018S-16 | SW-1 | SP4T, SPDT, Isolation:60dB | 3F-RF | O | 사용
SUW-E0391 | N/A | 10dB ATTENUATOR | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | MINI-CIRCUITS | 2021 | BW-K10-2W44+ | 2117 | 10dB, DC to 40 GHz | 3F-RF | O | 사용
SUW-E0392 | N/A | ATTENUATOR | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | WEINSCHEL | 2021 | 56-10 | 61105 | 10dB, DC to 26.5 GHz | 3F-RF | O | 사용
SUW-E0393 | N/A | POWER SPLITTER | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | KEYSIGHT | 2021 | 11667A | 55690 | DC to 18 GHz | 3F-RF | O | 사용
SUW-E0395 | 125-SE300 | ATTENUATOR | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | WEINSCHEL | 2021 | WA96-30-0303 | 1 | 30dB, 250W, DC to 18 GHz | 3F-RF | O | 사용
SUW-E0396 | 125-SE300 | ATTENUATOR | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | WEINSCHEL | 2021 | WA96-30-0303 | 2 | 30dB, 250W, DC to 18 GHz | 3F-RF | O | 사용
SUW-E0397 | 125-SE300 | ATTENUATOR | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | WEINSCHEL | 2021 | WA96-30-0303 | 3 | 30dB, 250W, DC to 18 GHz | 3F-RF | O | 사용
SUW-E0398 | 125-SE300 | ATTENUATOR | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | WEINSCHEL | 2021 | WA96-30-0303 | 4 | 30dB, 250W, DC to 18 GHz | 3F-RF | O | 사용
SUW-E0399 | 125-SE300 | ATTENUATOR | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | WEINSCHEL | 2021 | WA96-30-0303 | 5 | 30dB, 250W, DC to 18 GHz | 3F-RF | O | 사용
SUW-E0400 | 125-SE300 | ATTENUATOR | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | WEINSCHEL | 2021 | WA96-30-0303 | 6 | 30dB, 250W, DC to 18 GHz | 3F-RF | O | 사용
SUW-E0401 | 125-SE300 | ATTENUATOR | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | WEINSCHEL | 2021 | WA96-30-0303 | 7 | 30dB, 250W, DC to 18 GHz | 3F-RF | O | 사용
SUW-E0402 | 125-SE300 | ATTENUATOR | 외부교정 | 2025-07-21 | HCT | 12 | 2026-07-21 | WEINSCHEL | 2021 | WA96-30-0303 | 8 | 30dB, 250W, DC to 18 GHz | 3F-RF | O | 사용
SUW-E0403 | 125-SE302 | DC POWER SUPPLY | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | KIKUSUI | 2021 | PWR2001ML | BW000860 | Up to 80V | 3F-RF | O | 사용
SUW-E0404 | 125-SE301 | DC POWER SUPPLY | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | KIKUSUI | 2021 | PWR2001ML | BW000861 | Up to 80V | 3F-RF | O | 사용
SUW-E0405 | 125-961 | Vector Signal Generator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | R&S | 2021 | SMW200A | 110251 | 100 kHz to 7.5 GHz | 3F-RF | O | 사용
SUW-E0406 | 125-964 / 125-965 | RF SWITCHING SYSTEM | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | TA Engineering | 2022 | TAESW-32WAYS | TAESW-32WAYS-001 | 20dB ATT, 32 Port, DC to 26.5GHz | 3F-RF | O | 사용
SUW-E0407 | N/A | Radio Communication Tester | 자체점검 | 2025-07-22 | HCT | 12 | 2026-07-22 | R&S | 2022 | CMX500 | 101535 | - | 1F-RF | O | 사용
SUW-E0408 | N/A | ProSAFE 8-Port 10-Gigabit Web Managed Switch | 자체점검 | N/A | N/A | N/A | N/A | NETGEAR | 2022 | XS708Ev2 | 4FU7055HA00A8 | - | 3F-RF | O | 사용
SUW-E0409 | 125-930 | Call Box | 외부교정 | 2026-01-14 | HCT | 12 | 2027-01-14 | R&S | 2021 | CMW500 | 169802 | GSM,WCDMA,LTE | RE1 | O | 사용
SUW-E0410 | N/A | Pre-Amplifier | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | INNOVISION | 2022 | ELNA00930-40 | 9148221 | 9kHz to 3GHz 40dB Gain | 1F-RSE | O | 사용
SUW-E0411 | N/A | Coaxial Circulator | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | RF COREA | 2022 | U-G002.004S.1 | 1 | 2GHz to 4GHz | 3F-RF | O | 사용
SUW-E0412 | N/A | Coaxial Circulator | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | RF COREA | 2022 | U-G003.006S.1 | 1 | 3GHz to 6 GHz | 3F-RF | O | 사용
SUW-E0413 | N/A | Coaxial Isolator | 자체점검 | 2025-07-23 | N/A | N/A | N/A | RF COREA | 2022 | I-G002.004S.1 | 1 | 2GHz to 4GHz | 3F-RF | X | 사용
SUW-E0414 | N/A | Coaxial Isolator | 자체점검 | 2025-07-23 | N/A | N/A | N/A | RF COREA | 2022 | I-G002.004S.1 | 2 | 2GHz to 4GHz | 3F-RF | X | 사용
SUW-E0415 | N/A | Coaxial Isolator | 자체점검 | N/A | N/A | N/A | N/A | RF COREA | 2024 | I-M700.G01S.1 | 1 | 700MHz to 1000MHz | 3F-RF | X | 사용
SUW-E0416 | N/A | Coaxial Isolator | 자체점검 | N/A | N/A | N/A | N/A | RF COREA | 2024 | I-M700.G01S.1 | 2 | 700MHz to 1000MHz | 3F-RF | X | 사용
SUW-E0417 | N/A | Coaxial Circulator | 외부교정 | 2025-12-30 | HCT | 12 | 2026-12-30 | RF COREA | 2024 | U-M800.1000.S | 1 | 800MHz to 1000MHz | 3F-RF | O | 사용
SUW-E0418 | N/A | Access Point(WIFI 6E) | 비대상 | N/A | N/A | N/A | N/A | ROG | 2024 | ROGRaptureGT-AXE11000 | - | WIFI 6E AP | 1F-RF | O | 사용
SUW-E0419 | N/A | Access Point(CBRS) | 비대상 | N/A | N/A | N/A | N/A | QUCELL | 2024 | QUCELL(1ED204300036) | 1ED204300036 | Access Point | 1F-RF | O | 사용
SUW-E0420 | N/A | 5G NAR Base Station(CBRS) | 비대상 | N/A | N/A | N/A | N/A | Airspan Networks Inc. | 2024 | AirSpeed 2900 | ED0A5A0164BE | 5G NR Base Station | 1F-RF | X | 사용
SUW-E0421 | N/A | Pre-Amplifier | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | B&Z Technologies, LLC | 2024 | BZR-01001800-231040-181515 | 23576 | 100 MHz to 18 GHz | RE2 | O | 사용
SUW-E0422 | N/A | Temp and Humidity recorder | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | LUTRON | 2024 | MHB-382SD | AM.17142 | 10~30℃, 90% | 1F-RF | O | 사용
SUW-E0423 | N/A | Temp and Humidity recorder | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | LUTRON | 2024 | MHB-382SD | AM.17143 | 10~30℃, 90% | 1F-RF | O | 사용
SUW-E0424 | N/A | BAND REJECT FILTER | 외부교정 | 2025-07-23 | HCT | 12 | 2026-07-23 | MI-WANE, Inc. | 2025 | WT-A8042-R12 | 25042304-1 | 3300 MHz ~ 4200 MHz / >50 dB | 1F-RF | O | 사용
SUW-E0425 | N/A | Loop Antenna | 외부교정 | 2025-10-27 | HCT | 24 | 2027-10-27 | R&S | 2025 | HFH2-Z2E | 101308 | 9kHz to 30MHz | RE1 | O | 사용
Formulas:
차기교정일 = IF([교정주기 (개월)]=12,DATE(YEAR([최종교정일])+1,MONTH([최종교정일]),DAY([최종교정일])),IF([교정주기 (개월)]=24,DATE(YEAR([최종교정일])+2,MONTH([최종교정일]),DAY([최종교정일])),IF([교정주기 (개월)]="N/A","N/A")))
Note on H379: USR.SUW.MEMCRF:202027년 다음 번 교정때는 사용한 바이어스 유닛을 교정성적서에 같이 기재해서 발생될수 있도록 하여야함. EMC와 관리 방법을 동일하게 가져갈수있도록

## 불용장비
관리번호 | 자산번호 (번호 or N/A) | 장비명 | 관리방법 (외부교정/자체점검/비대상) | 최종교정일 | 교정기관 | 교정주기 (개월) | 차기교정일 | 제조사 | 구입년도 | 모델명 | 일련번호 | 장비사양 | 위치 | 비고
SUW-E0012 |  | Pre-Amplifier | [5 empty] | MITEQ |  | AFS42-00101800-25-S-42 | 1876511 | 1GHz to 18GHz | RE1 | 1 chamber Filter Box
SUW-E0082 | N/A | Attenuator | 외부교정 | 2025-07-22 | HCT | 12 | 2026-07-22 | PASTERNACK | 2014 | PE7087-10 | A006 | 26GHz, 2Watt | RF1
SUW-E0044 |  | Power Divider | [5 empty] | AEROFLEX/WEINSCHEL |  | 1575 | 2150 | DC to 40GHz | RF1 | POWER DIVIDER
SUW-E0053 |  | Power Divider | [5 empty] | AEROFLEX/WEINSCHEL |  | 1575 | 2151 | DC to 40GHz | RF1 | POWER DIVIDER
SUW-E0054 |  | Power Divider | [5 empty] | AEROFLEX/WEINSCHEL |  | 1575 | 2152 | DC to 40GHz | RF1 | POWER DIVIDER
SUW-E0055 |  | Power Divider | [5 empty] | AEROFLEX/WEINSCHEL |  | 1575 | 2153 | DC to 40GHz | RF1 | POWER DIVIDER
SUW-E0056 |  | Power Divider | [5 empty] | AEROFLEX/WEINSCHEL |  | 1575 | 2154 | DC to 40GHz | RF1 | POWER DIVIDER
SUW-E0069 |  | Power Divider | [5 empty] | AEROFLEX/WEINSCHEL |  | 1594 | 1667 | DC to 18GHz | RF1 | POWER DIVIDER
SUW-E0089 |  | Termination | [5 empty] | WEINSCHEL |  | M1406A | T06 | 18GHz | RF1
SUW-E0096 |  | Directional Coupler | [5 empty] | KRYTAR |  | 1850 | 164431 | 500MHz to 18GHz | RF1 | DIRECTIONAL COUPLER
SUW-E0097 |  | Directional Coupler | [5 empty] | KRYTAR |  | 1850 | 164432 | 500MHz to 18GHz | RF1
SUW-E0017 |  | Call Box | [5 empty] | R&S |  | CMW500 | 150312 | GSM,CDMA,WCDMA,LTE | RF1
SUW-E0112 |  | Call Box | [5 empty] | R&S |  | CMW500 | 115331 | GSM,CDMA,WCDMA,LTE | RE1
SUW-E0115 |  | Call Box | [5 empty] | R&S |  | CMW500 | 102271 | GSM,CDMA,WCDMA,LTE | RE2
SUW-E0144 |  | Filter | 외부교정 | 2023-07-24 | HCT | 12 | 45496 | MICRO-TRONICS |  | HPM50115-02 | G004 | 1000 to 18000 | RE2
SUW-E0231 |  | Power Splitter | 외부교정 |  |  |  |  | WEINSCHEL |  | WA1534 | UL002 | - | RF1
SUW-E0318 |  | POWER DIVIDER | 외부교정 |  |  |  |  | WEINSCHEL |  | 1575 | 2781 | DC to 26.5 GHz | 3F-RF
SUW-E0321 |  | ATTENUATOR | 외부교정 | 2020-08-07 | HCT | 12 | 44415 | WEINSCHEL |  | 56-10 | 68936 | DC to 26.5GHz | 3F-RF
SUW-E0330 |  | Pre-Amp | 외부교정 | Pre-Amp |  |  |  | R&S |  | SCU-03 | 100357 | 0.01 to 3GHz GAIN 35dB | 1F-RSE
SUW-E0365 |  | ATTENUATOR | 외부교정 |  |  |  |  | WEINSCHEL |  | WA88-30-1313 | 1 | DC-40GHz | 3F-RF
SUW-E0070 |  | Power Divider | 외부교정 | 2023-07-24 | HCT | 12 | 45496 | AEROFLEX/WEINSCHEL |  | 1594 | 1668 | DC to 18GHz | RF1
SUW-E0315 |  | Temp and Humidity recorder | 외부교정 | 2023-07-26 | HCT | 12 | 2024-07-26 | LUTRON |  | MHB-382SD | AI.69485 | 50℃, 90% | 3F-RF | SUW-W0006
SUW-E0111 |  | PRE-AMPLIFIER | 외부교정 | 2023-07-25 | HCT | 12 | 45497 | MITEQ |  | AFS42-00101800-25-S-42 | 1896138 | 1GHz to 18GHz | RE2 | 2 chamber Filter Box
SUW-E0394 |  | POWER DIVIDER | 외부교정 | 2023-07-24 | HCT | 12 | 45497 | WEINSCHEL |  | 1580 | SQ355 | DC to 26.5 GHz | 3F-RF
SUW-E0019 | 125-546 | Loop Antenna | 외부교정 | 45176 | HCT | 24 |  | R&S | 2014 | HFH2-Z2 | 100418 | 9kHz to 30MHz | RE1 | 고장 및 수리불가로 인한 폐기처리
SUW-E0149 | 125-627 | Network Analyzer | 외부교정 | 2025-01-02 | HCT | 12 | 2026-01-02 | R&S | 2015 | ZNB 40 | 101587 | 9kHz to 40GHz | RE1 | 2025.12.31 고장. | 1월 20일 반출
SUW-E0282 | 125-SE312 | Power Sensor | 외부교정 | 2025-01-03 | HCT | 12 | 2026-01-03 | KEYSIGHT | 2021 | U2052XA | MY60000074 | 10 MHz ~ 18 GHz | RF2 | 2025.12.31 고장. | 1월 16일 반출

## SAR list (hidden)
번호 | 장비명 | 제조사 | 모델명 | 일련번호 | 관리번호 | 교정 | 최종교정일 | 교정주기 | 차기교정일 | 장비사양 | 설치장소
1 | Signal Generator | AGILENT | N5181A | MY50145882 | SUW-S0001 | HCT | 2015-08-18 | 12 | 2016-08-18 | 100KHz ~ 6GHz | 2F- SAR
2 | Attenuator | AGILENT | 8491B/003 | MY39269292 | SUW-S0002 | HCT | 2015-08-18 | 12 | 2016-08-18 | 3dB | 2F- SAR
3 | Attenuator | AGILENT | 8491B/010 | MY39269315 | SUW-S0003 | HCT | 2015-08-18 | 12 | 2016-08-18 | 10dB | 2F- SAR
4 | Attenuator | AGILENT | 8491B/020 | MY39269298 | SUW-S0004 | HCT | 2015-08-18 | 12 | 2016-08-18 | 20dB | 2F- SAR
5 | Amplifier | EXODUS | AMP2027 | 1410025- AMP2027-10003 | SUW-S0005 | HCT | 2015-08-18 | 12 | 2016-08-18 | 100M~6GHz | 2F- SAR
6 | Low Pass Filter | MICROLAB | LA-15N | 03943 | SUW-S0006 | HCT | 2015-08-18 | 12 | 2016-08-18 | ~1.5GHz | 2F- SAR
7 | Low Pass Filter | FILTRON | L14012FL | 1410003S | SUW-S0007 | HCT | 2015-08-18 | 12 | 2016-08-18 | ~3GHz | 2F- SAR
8 | Low Pass Filter | MICROLAB | LA-60N | 03942 | SUW-S0008 | HCT | 2015-08-18 | 12 | 2016-08-18 | ~6GHz | 2F- SAR
9 | Directional Coupler | AGILENT | 778D | MY52180432 | SUW-S0009 | HCT | 2015-08-18 | 12 | 2016-08-18 | 2~18GHz | 2F- SAR
10 | Directional Coupler | AGILENT | 772D | MY52180193 | SUW-S0010 | HCT | 2015-08-18 | 12 | 2016-08-18 | 100M~2GHz | 2F- SAR
11 | Wideband Radio Communications Tester | ROHDE & SCHWARZ | CMW500 | 150313 | SUW-S0011 | HCT | 2015-08-18 | 12 | 2016-08-18 | GSM,CDMA,WCDMA,LTE | 2F- SAR
12 | Wideband Radio Communications Tester | ROHDE & SCHWARZ | CMW500 | 150314 | SUW-S0012 | HCT | 2015-08-18 | 12 | 2016-08-18 | GSM,CDMA,WCDMA,LTE | 2F- SAR
13 | Power Sensor | AGILENT | U2000A | MY54260010 | SUW-S0013 | HCT | 2015-08-18 | 12 | 2016-08-18 | 10MHz ~ 18GHz | 2F- SAR
14 | Power Sensor | AGILENT | U2000A | MY54260007 | SUW-S0014 | HCT | 2015-08-18 | 12 | 2016-08-18 | 10MHz ~ 18GHz | 2F- SAR
15 | Dipole Antenna | SPEAG | D750V3 | 1122 | SUW-S0015 | SPEAG | 2015-08-17 | 12 | 2016-08-17 | Head & Body 750 MHz | 2F- SAR
16 | Dipole Antenna | SPEAG | D835V2 | 4d174 | SUW-S0016 | SPEAG | 2015-09-30 | 12 | 2016-09-30 | Head & Body 835 MHz | 2F- SAR
17 | Dipole Antenna | SPEAG | D1750V2 | 1125 | SUW-S0017 | SPEAG | 2015-08-20 | 12 | 2016-08-20 | Head & Body 1750 MHz | 2F- SAR
18 | Dipole Antenna | SPEAG | D1900V2 | 5d190 | SUW-S0018 | SPEAG | 2015-09-29 | 12 | 2016-09-29 | Head & Body 1900 MHz | 2F- SAR
19 | Dipole Antenna | SPEAG | D1950V3 | 1157 | SUW-S0019 | SPEAG | 2015-09-29 | 12 | 2016-09-29 | Head & Body 1950 MHz | 2F- SAR
20 | Dipole Antenna | SPEAG | D2100V2 | 1037 | SUW-S0020 | SPEAG | 2015-09-29 | 12 | 2016-09-29 | Head & Body 2100 MHz | 2F- SAR
21 | Dipole Antenna | SPEAG | D2450V2 | 939 | SUW-S0021 | SPEAG | 2015-09-28 | 12 | 2016-09-28 | Head & Body 2450 MHz | 2F- SAR
22 | Dipole Antenna | SPEAG | D5GHzV2 | 1184 | SUW-S0022 | SPEAG | 2015-08-26 | 12 | 2016-08-26 | Head & Body 5 GHz | 2F- SAR
23 | NETWORK ANALYZER | AGILENT | E5071C | MY46522054 | SUW-S0023 | HCT | 2015-08-18 | 12 | 2016-08-18 | 9KHz~6.5GHz | 2F- SAR
24 | DIELECTRIC PROBES | SPEAG | DAK-3.5 Probe | 1196 | SUW-S0024 | SPEAG | 2015-08-04 | 12 | 2016-08-04 | 200MHz~20GHz | 2F- SAR
25 | Thermometer | LKM | DTM3000 | 3424 | SUW-S0025 | HCT | 2015-08-19 | 12 | 2016-08-19 | −200 ~ 820°C | 2F- SAR
26 | Shield Room | EME | N/A | N/A | SUW-S0026 | N/A | N/A | N/A | N/A | 7000×5000×3000 (mm) | 2F- SAR
27 | Shield Room | EME | N/A | N/A | SUW-S0027 | N/A | N/A | N/A | N/A | 7000×5000×3000 (mm) | 2F- SAR
28 | Shield Room | EME | N/A | N/A | SUW-S0028 | N/A | N/A | N/A | N/A | 7000×5000×3000 (mm) | 2F- SAR
29 | Data Acquisition System | SPEAG | DAE4 | 1494 | SUW-S0029 | SPEAG | 2015-11-11 | 12 | 2016-11-11 | -100 TO +300Mv | 2F- SAR
30 | Data Acquisition System | SPEAG | DAE4 | 1447 | SUW-S0030 | SPEAG | 2015-09-23 | 12 | 2016-09-23 | -100 TO +300Mv | 2F- SAR
31 | E-field probe | SPEAG | EX3DV4 | 7313 | SUW-S0031 | SPEAG | 2015-07-23 | 12 | 2016-07-23 | 10MHz to 6GHz | 2F- SAR
32 | E-field probe | SPEAG | EX3DV4 | 7314 | SUW-S0032 | SPEAG | 2015-09-25 | 12 | 2016-09-25 | 10MHz to 6GHz | 2F- SAR
33 | Temp and Humidity recorder | LUTRON | MHB-382SD | AH.50215 | SUW-S0033 | HCT | 2015-08-19 | 12 | 2016-08-19 | 50℃, 90% | 2F- SAR
34 | Temp and Humidity recorder | LUTRON | MHB-382SD | AH.50213 | SUW-S0034 | HCT | 2015-08-24 | 12 | 2016-08-24 | 50℃, 90% | 2F- SAR
35 | Digital Multimeter | FLUKE | 17B | 27770592WS | SUW-S0035 | HCT | 2015-08-18 | 12 | 2016-08-18 | 1000V | 2F- SAR
36 | Digital Multimeter | FLUKE | 17B | 28050366WS | SUW-S0036 | HCT | 2015-08-18 | 12 | 2016-08-18 | 1000V | 2F- SAR
37 | Dasy52 | SPEAG | Dasy52 SAR System | F14/5T5ZB1/A/01 | SUW-S0037 | N/A | N/A | N/A | N/A |  | 2F- SAR
38 | Dasy52 | SPEAG | Dasy52 SAR System | F14/5VR2C1/A/01 | SUW-S0038 | N/A | N/A | N/A | N/A |  | 2F- SAR
39 | Dipole Antenna | SPEAG | D835V2 | 4d194 | SUW-S0039 | SPEAG | 2015-09-17 | 12 | 2016-09-17 | Head & Body 835 MHz | 2F- SAR
40 | Dipole Antenna | SPEAG | D1800V2 | 2d204 | SUW-S0040 | SPEAG | 2015-01-09 | 12 | 2016-01-09 | Head & Body 1800 MHz | 2F- SAR
41 | Dipole Antenna | SPEAG | D1900V2 | 5d199 | SUW-S0041 | SPEAG | 2015-02-06 | 12 | 2016-02-06 | Head & Body 1900 MHz | 2F- SAR
42 | Dipole Antenna | SPEAG | D2450V2 | 960 | SUW-S0042 | SPEAG | 2015-02-05 | 12 | 2016-02-05 | Head & Body 2450 MHz | 2F- SAR
43 | Dipole Antenna | SPEAG | D2600V2 | 1097 | SUW-S0043 | SPEAG | 2015-11-18 | 12 | 2016-11-18 | Head & Body 2600 MHz | 2F- SAR
44 | Dipole Antenna | SPEAG | D5GHzV2 | 1209 | SUW-S0044 | SPEAG | 2015-02-10 | 12 | 2016-02-10 | Head & Body 5GHz | 2F- SAR
45 | Data Acquisition System | SPEAG | DAE4 | 1468 | SUW-S0045 | SPEAG | 2015-09-15 | 12 | 2016-09-15 | -100 TO +300Mv | 2F- SAR
46 | E-field probe | SPEAG | EX3DV4 | 7376 | SUW-S0046 | SPEAG | 2015-09-02 | 12 | 2016-09-02 | 10MHz to 6GHz | 2F- SAR
47 | E-field probe | SPEAG | EX3DV4 | 7330 | SUW-S0047 | SPEAG | 2015-02-12 | 12 | 2016-02-12 | 10MHz to 6GHz | 2F- SAR
48 | Dasy52 | SPEAG | Dasy52 SAR System | F14/5W9FA1/A/01 | SUW-S0048 | N/A | N/A | N/A | N/A |  | 2F- SAR
49 | Temp and Humidity recorder | LUTRON | MHB-382SD | AH.91478 | SUW-S0049 | HCT | 2015-08-12 | 12 | 2016-08-12 | 50℃, 90% | 2F- SAR
50 | Temp and Humidity recorder | LUTRON | MHB-382SD | AH.91463 | SUW-S0050 | HCT | 2015-08-12 | 12 | 2016-08-12 | 50℃, 90% | 2F- SAR
51 | Wireless communications test set | AGILENT | E5515C | MY50260520 | SUW-S0051 | HCT | 2015-10-05 | 12 | 2016-10-05 | GSM,CDMA,WCDMA | 2F- SAR